## Sheet1
Semi-Annual/Annual Competency Assessment Blood Bank
Employee Name:
Date of Hire: |  |  |  |  | ***See reverse side for description of 6 methods of competency assessment and any follow up needed
Period of Evaluation: |  | 2015
Evaluator(s):
Specify Instrument/Assay |  | Operation of Ortho MTS System | Compatibility Testing | Transfusion Reaction Work-up | Use of the Meditech Blood Bank Module | Labeling and Issuing of Blood Components
Performance Criteria |  | Basic Operation Daily Start-up Basic Troubleshooting Routine Maintenance Quality Control Procedures | Verify Integrity of Sample, Perform ABO/Rh, AB Screen, and Crossmatch including selection of components | Perform Transfusion Reaction Work-up | Enters unit/patient information. Issues units and prints forms. | Label and Issues components. Domument visual inspection.
Learning Resources |  | Technical Procedures Manager/Preceptor | Technical Procedures Manager/Preceptor | Technical Procedures Manager/Preceptor | Technical Procedures Manager/Preceptor | Technical Procedures Manager/Preceptor
1 | Direct Observation
2 | Monitoring Test Results
3 | Record Review
4 | Maintenance
5 | Proficiency Testing
5 | Internal Sample Testing
6 | Problem Solving
I have had an opportunity to review and ask questions about policies and procedures related to equiptment and testing above
| Employee Signature | Date
Based upon successful completion of this competency assessment, this employee is deemed to be competent to perform patient testing unsupervised
| Manager Signature | Date
This employee needs additional training and is restricted from performing patient testing unsupervised. Action plan and timeline for followup are listed below.
Employee Signature/date
Manager Signature/date
1 | Direct observation of routine patient test performance, including, as applicable, patient identification and preparation, and specimen collection, handling, processing, and testing
2 | Monitoring the recording and reporting of test results, including as applicable, reporting critical tests
3 | Review of intermediate test results or worksheets, quality control records, proficiency testing results, and preventative maintenance records
4 | Direct observation of performance of instrument maintenance and function checks
5 | Assessment of test performance through testing previously analyzed specimens, internal blind testing samples or external proficiency testing samples
6 | Evaluation of problem-solving skills