## Sheet1
Name: _____________________________________________ Job Title: ____________________________
EMP #: ________________________________ Evaluator: ___________________________________
Orientation to laboratory testing includes 1) Reading and reviewing of laboratory policies and procedures 2) Direct observation of step-by-step test performance 3) Review of documentation for test logsheets, quality control, maintenance, proficiency testing, and test results 4) Direct observation of instrument maintenance and problem-solving. 5) Complete post tests for Phlebotomy and and Cultural Diversity
Competency includes the following for all Non-Waived testing: 1. Direct observation of routine patient test performance, including patient preparation, if applicable, and specimen collection, handling, processing and testing. 2. Monitoring, recording and reporting test results. 3. Review of intermediate test results or worksheets, quality control, proficiency testing and preventative maintenance performance. 4. Direct observation of instrument maintenance function checks and calibration. 5. Test performance as defined by laboratory policy ( for example: Testing previously analyzed specimens, internal blind testing samples, external proficiency, or testing samples). 6. Problem-solving skills as appropriate to the job. Technical Consultant must perfom sign off.
Competency for Waived testing includes at least two of the following methods per person, per test: 1. Performance of a test on a blind sample. 2. Periodic observation of routine work by the supervisor or qualified designee. 3. Monitoring of each user's quality control performance. 4. Use of a written test specific to the test assessed.
If "Needs Additional Training" is indicated, follow-up with documentation must occur within 3 months
All six testing methonds required | Date Achieved:
Competency Skills / Standards - Non Waived Testing - All six testing methods required | Direct Observation of Routine Testing - Non-Waived Testing | Reporting results | QC, PT, Maintenance | Direct Observation of Maintenance | Testing unknown samples | Problem solving | Needs Additional Training | Evaluator's Initials:
Complete Blood Count (CBC) Instrument:
Sedimentation Rate - RIM ONLY
D-Dimer - RIM ONLY
Competency Skills / Standards - WAIVED Testing - Two out of four required | Testing blind sample | Observation of routine work | QC Monitoring | Written test | Needs Additional Training | Evaluator's Initials
Whole Blood Glucose
Mckesson True Balance/TrueMetrix
H. pylori test
Quidel
Mono test
Quidel
Strep Screen
McKesson/Consult dipstick
Urine Pregnancy Test
Name: _____________________________________________ Job Title: ____________________________
Two of four testing methods required | Date Achieved:
Competency Skills / Standards - WAIVED Testing - Two out of four required | Testing blind sample | Observation of routine work | QC Monitoring | Written test | Needs Additional Training | Evaluator's Initials
RSV Test
Quidel
Influenza A&B
Urinalysis - Dipstick
Manual/Automated
Multi-stik , microalbumin
Prothrombin Time /INR
Coaguchek xs
Hemoglobin A1C
DCA
Hemoglobin
Hemocue
Trichomonas - Rapid Test
Lead Care
IFOB - Consult
IFOB - Quidel
Hemoccult
Occult Blood Cards
UDS
BNP - RIM ONLY
I have completed all the competency skills checklist for the tests I will be performing. I am confident I can perform these
with accuracy and reliability. I have completed all phases of the orientation/training process and understand my responsibilities.
I have read and reviewed all the laboratories policies and procedures.
Employee Signature: ____________________________________________ Date:_____________________
Evaluator Signature/Initials:_______________________________________ Date:_____________________

## Sheet2
Name:___________________________________________________ | EMP#:__________________________________

## Sheet3
1
2
NA