5.1.01 Clinical Protocols – Services Delivery

|  | COMMUNITY MEDICAL CENTERS, INC. |
| --- | --- |

| Manual: | Laboratory | Policy #: | 14.01.03 |
| --- | --- | --- | --- |
| Section: | Waived Tests | Effective Date: | 12/12 |
| Scope: | Lab, Medical & Clinical Staff | Replaces: | New |
| Origin Date: | 12/2012 |  |  |

| APPROVED BY: |  |
| --- | --- |
| Name Date | Name Date |
| Board President |  |
| Chief Executive Officer |  |
| Medical Director |  |
| Laboratory Supervisor |  |

SUBJECT:  GLUCOSE, WHOLE BLOOD II

POLICY:  The whole blood glucose test is used as a screening test of blood glucose level.  The Contour Blood Glucose Monitoring System is used for the whole blood glucose test for clinics who need replacement whole blood glucose machines since the discontinuation of the manufacture of the AccuChek Advantage Glucose System. As per the manufacturer’s recommendations, this test is not used to make decisions regarding medication dosages.

.

DEFINITIONS:  None

PROCEDURES:  The package inserts and the booklets:  “Bayer Contour Blood Glucose Monitoring System User Guide and Quick Reference Guide contain the procedure for the Contour glucose whole blood test.

Quality control:  Two levels of control solutions (a normal and an abnormal level) are tested on each machine on each day of use.  Results are recorded on the Whole Blood Glucose Quality Control Form.  Results must be within acceptable ranges, as determined by the manufacturer, before patient testing is performed.  If acceptable quality control results cannot be obtained, do not use the machine for patient testing and inform your Clinic Manager and/or the Lab Supervisor.

ATTACHMENTS:

Attachment A:  Glucose, Whole Blood Quality Control Log 14.01.01 Att. A

Attachment B:  Bayer Contour User Guide

Attachment C:  Bayer Contour Quick Reference Guide

Attachment D:  Bayer Contour Test Strips Package Insert

Attachment E:  Bayer Contour Control Package Insert

RELATED POLICIES:

Clinical Policy Manual 5.5.21 – Glucose Whole Blood Screen, Performance of

REFERENCES:

Bayer Contour Blood Glucose Monitoring System User Guide, Rev. 01/2011

Bayer HealthCare LLC

Mishawaka, IN 46544

www.bayrediabetes.com/us

Bayer Customer Service:  1-800-348-8100

Bayer Contour Blood Glucose Monitoring System Quick Reference Guide

50184410 Rev. 02/08

Bayer HealthCare LLC

Bayer Contour Control Package Insert 1339VD Rev. 02/08

Bayer HealthCare LLC

Bayer Contour Blood Glucose Test Strips Package Insert 83001748, Rev.06/10

Bayer HealthCare LLC

COMPLIANCE INDICATORS:

Glucose Whole Blood Quality Control Logs  (Maintained at each site.)