## Slide 1: Software Overview:
To provide a synopsis of frequently used software tasks in order to utilize and navigate the ACL TOP Family analyzer for routine operation.

## Slide 2: Software overview
The objective of this power point is to use the software effectively.
The following will be covered in this PowerPoint
  Layout of software
  Define key icons
  Determine function of icon bars

## Slide 3: Layout
Each screen contains the following areas:
  Title Bar
    Shows screen name
  Menu Bar
  Toolbar
  Working Area
  Status Bar
  Information Panel
Notes: Title Bar - displays the instrument name and the screen name.

## Slide 4: Layout

## Slide 5: Menu bar
The ACL TOP 500 CTS main menu bar contains the following menu options:
Instrument: General instrument functions
Actions: Specific actions appropriate to screen displayed
QC: Options to review QC results and status
Calibration: Review or perform calibration
NPP: Review Normal Pooled Plasma results
Setup: Access areas of software to setup all functions
Help: Access online help (Operator’s Manual)

## Slide 6: Tool Bar
The tool bar contains the main functional icons.
Operational Icons
Navigation Icons
Access on-line help
Sample List Display- Customize the sample list screen
Operational Icons are used to perform an action on a sample or group of samples
Navigational Icons are quick ways to go from one screen to another. Menu bar accomplishes this also.

## Slide 7: Operational Icons
Sample Area
Reagent Area
Previous Screen
Sample List
QC Result List
Calibration List
Validate Results
Upload Results
  Transmit to LIS
Filter Sample List
Search Sample List
Sample Details
Test Details
Save
Add or Remove Tests
Navigational Icons

## Slide 8: Working Area
The working area is below the toolbar and contains a data table or a form. There are a number of different data tables and forms that can be displayed in the working area. Some examples are:
  Sample Area
  Reagent/Diluent Area
  Sample List Area

## Slide 9: Sample Area
Sample Area shows placement of samples in the racks on the analyzer

## Slide 10: Status Color Code
The status of a sample is indicated by color:

## Slide 11: Sample List Area
The Sample List contains sample and test information.

## Slide 12: Reagent and diluent area
The reagent and diluent area shows the placement and status of reagents on the analyzer.

## Slide 13: Reagent area
Reagent Status
Remaining Stability

## Slide 14: Status Bar
The first button is the General Log of the analyzer
The next section is the Analyzer general status.
  This section allows the user to determine what function is being performed by the analyzer.
  The common indicators are listed to the right->
Located Below the working area and contains several buttons pertaining to the analyzer.

## Slide 15: Status Bar
The Material Status button alerts the operator with the status of materials on board or required by the analyzer.
The Job Frequency button indicates that certain functions are coming close to expiration or have expired.
Reagent Level Low
Incorrect position or out of reagent
Expired
Near expiration

## Slide 16: Status Bar
The Quality Control Button alerts the operator of QC warnings or alarms.
The Maintenance Button indicates when a maintenance procedure is due or overdue.
The Analyzer Button alerts the operator of analyzer warnings or alarms.
The LIS Button allows access to host communication log.

## Slide 17: Informational Panel
The information panel located on the bottom of the screen always displays:
Time until completion
Numbers of entries in the Sample List
User currently logged in
Security level logged in user
Current date and time