PURPOSE

To define the FHS Laboratory policy for handling samples that may be infected or suspected of being infected with CJD/vCJD.

BACKGROUND

The risk for healthcare transmission of CJD/vCJD is dependant upon the probability that an individual has or will develop the disease, the level of infectivity in the individual specimen type, and the route of exposure.  Specimen types with detectable infectivity are spinal fluid, and tissue samples from the brain, spinal cord, eye, kidney, liver, lung, lymph node/spleen, and placenta.  The lab policy for managing these sample types is based on the FHS CJD Protocol 911.00.

PRECAUTIONS FOR POTENTIALLY INFECTIVE SPECIMEN TYPES

- Personal Protective Equipment (PPE) consisting of a face shield, gloves and lab coat is required to handle specimens.

- PPE is discarded after one use after handling a potentially infective sample, and before touching any other surfaces to prevent cross contamination.

- Extended soaking of all equipment used during sample analysis in a fresh 10% bleach solution for 1 hour is required.

- Equipment is discarded after soaking in freshly made10% bleach.

COMMUNICATION

FHS CJD protocol 911.00 is activated when there is an admission, diagnosis, or surgical procedure scheduling of a patient with known or suspected CJD/vCJD.

1.  The Microbiology manager is notified as part of the Infection Control Team and notifies other managers when the protocol has been implemented.

2.  Environmental Services will deliver special double-line waste disposal containers to the laboratory for disposal of all specimens or other infectious materials.

3.  When special waste is ready for pickup, ES is notified by the tech in charge or MT Coordinator.

SAMPLE PACKAGING AND TRANSPORT

1.  Specimens from CJD Protocol patients will arrive in specimen processing double bagged with the words “CJD Protocol” in big black print on the outside of the specimen bags.

2.  Specimen Processors or Lab Assistants will notify the tech in charge, MT coordinator, supervisors, operations manager.

SAMPLE HANDLING AFTER IMPLEMENTATION OF THE PROTOCOL

Hematology, Microbiology, and Pathology have department specific procedures for managing these samples within the department.