|  | FORM |
| --- | --- |
|  | R-F-UA-2212-01 |
| Iris velocity qc & MAINTENANCE LOG |  |
| St. Joseph Medical Center Tacoma, WA St. Clare Hospital Lakewood, WA St. Elizabeth Hospital Enumclaw, WA St. Francis Hospital Federal Way, WA St. Anthony Hospital Gig Harbor, WA Highline Medical Center Burien, WA PSC |  |

INSTRUMENT:    Iris  iChem ™ Velocity  Urine Chemistry Analyzer    	     	MONTH________________YEAR:________

QUALITY CONTROL

| Reagent Strip Lot# | Expiration Date: | Date in Use: | Tech |
| --- | --- | --- | --- |
| CA/CB/CC Lot# | Expiration Date: | Date in Use: | Tech |

DAILY MAINTENANCE

| Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Clean waste container |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Clean Strip Provider Module, strip slide & push bars |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Check strip supply |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Check wash bottle |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Clean belts, surfaces |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CA, CB, & CC QC |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TECH |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| WEEKLY MAINTENANCE Date: |  |  |  |  |  | Comments: Reviewed by: Date: |
| --- | --- | --- | --- | --- | --- | --- |
| Clean the strip conveyer system (SCS) (Every two weeks) |  |  |  |  |  |  |
| Clean the wash station bath |  |  |  |  |  |  |
| Clean CGM |  |  |  |  |  |  |
| TECH |  |  |  |  |  |  |
| AS NEEDED MAINTENANCE Date: |  |  |  |  |  |  |
| Clean Tube Detector, Barcode reader, &optical sensors |  |  |  |  |  |  |
| Reflectance CalChek (Quarterly) |  |  |  |  |  |  |
| SG/CC CalCheck (Quarterly) |  |  |  |  |  |  |
| TECH |  |  |  |  |  |  |

| DOCUMENT APPROVAL Purpose of Document / Reason for Change: |  |  |  |
| --- | --- | --- | --- |
| Update added to clean SPM daily instead of weekly |  |  |  |
| No significant change to process in above revision. Per CAP, this revision does not require further Medical Director approval. |  |  |  |
| Committee Approval Date | Date: N/A – revision of department-specific document which is used at only one facility | Medical Director Approval (Electronic Signature) | 3/11/15 |

| Please Complete Review by date: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reviewer | Approval Required? | Date Reviewed | OK? | Not? | Suggestions |
| Denise Brown |  | 3/12/15 | Y |  |  |
| Cecil Dunn |  | 3/11/15 | Y |  | Suggest the name of the document stay consistent with other documents for this analyzer. “iChem Velocity Maintenance Log” so they list together on the portal. |
| Teri Emerson |  |  |  |  |  |
| Linda Guay |  |  |  |  |  |
| Sally Kramer |  | 3/11/15 | Y |  |  |
| Karen Lea |  | 3/11/15 | y |  | Adjusted the margins for the tables in header and footer |
| Joanne Walsh |  |  |  |  |  |
| Claudia Willis | Author |  |  |  |  |
| Katie Wilkinson |  | 3/11/15 | y |  | Does this apply to Highline? I changed to the new CHI header instead of FHS. |
| Once this document has been approved by the committee, this box should be deleted before saving the final copy. Then reposition the “Document Approval” box to the bottom of the last page and forward the final copy to the Medical Director for approval. |  |  |  |  |  |