|  | WORK INSTRUCTION |
| --- | --- |
|  | M-W-TS-0100-11 |
| labelLing & RECEIVING TYPE & sCREEN specimens |  |
| St. Joseph Medical Center Tacoma, WA St. Clare Hospital Lakewood, WA St. Elizabeth Hospital Enumclaw, WA St. Francis Hospital Federal Way, WA St. Anthony Hospital Gig Harbor, WA PSC |  |

PURPOSE

To provide instructions for accurately labeling pre-transfusion specimens from patients who have a Type & Screen order.  These patients have the potential to receive an RBC transfusion.

BACKGROUND

Most ABO-incompatible transfusions result not from laboratory testing errors but from mistakes in patient identification.  This includes (1) either sample collection or labeling errors that result in the wrong blood collected in the tube or (2) misidentification of the patient at the time of transfusion.  The incidence of wrong blood in tube is reported to be approximately one per 1000 samples – and – in one of every 12,300 transfusions the recipient receives a unit not intended for or not properly selected for him/her.

It is important to remember that wrong blood collected in the tube has the potential to cause a potentially fatal hemolytic transfusion reaction. A significant step for preventing mistransfusion is to obtain a properly labelled tube of blood from the correct patient.

POLICY

Proper patient identification is key to ensuring that the correct patient is collected for the Type & Screen test and will require two people to complete.  During the collection process, both the specimen collector and an independent, qualified staff member acting as a verifier will check patient ID.  See information under Specimen Collection header.

### RELATED DOCUMENTS

### M-PO-TS-0380	   	Mistransfusion Policy

M-W-TS-0379  		ABORH2

M-W-TS-1081		PreAdmit Questions for Type & Screen Specimen Form

M-PO-TS-0102		PreAdmit Patients – Blood Bank Specimens (Extended Expiration)

### EQUIPMENT REQUIRED

7 ml or 10 mL pink EDTA tube

Phlebotomy Supplies

ORDERS

1.	 Provider or Transfusion Service Staff will order a Type & Screen in Epic

2.	 Orders fall to blood collection queues and will be assigned to either lab collection or nurse collection

SPECIMEN REQUIREMENT

One full 7 to 10 ml EDTA tube of blood (minimum acceptable: ½ full), which is properly labeled AT THE BEDSIDE, which contains complete and accurate information for each of the following:

- Patient Name

- Birthdate

- Medical Record Number (optional)

- Legible initials – or – Tech ID of:

  - Collector & Verifier (Collector ID / Verifier ID)

  - Example = ND/JB

  - Each person should record their own initials or Tech ID

- Date & Time of collection

Note:  This tube should be completely full, when possible, in case extended testing is required.  Rejection of short-sample specimens or specimens without proper labelling is at the discretion of the Transfusion Service personnel.

OUTPATIENT SPECIMEN COLLECTION CENTERS

1.  Both the FOP and SJOC collect Type & Screen specimens for patients being scheduled for surgery.

2.	 There are times when only one person is on duty at those facilities.  While they can collect the specimen per protocol in the Specimen Collection Table below, they may lack a person who can verify the specimen.

3.	 These two locations will phone their associated blood bank and ask that a blood bank person or phlebotomist be sent to their site to perform the verification task.

- SJOC = 127-6654

- FOP = 125-1191

SPECIMEN COLLECTION

CHI-FH has strict standards as to who is considered qualified to identify patients and draw blood for testing purposes:

- Physicians

- RNs

- ED techs

- MT, MLS, or MLT

- Phlebotomists with MA-P licenses

- Hemodialysis techs with MA-P licenses

- LPNs

Select one of these people to act as the verifier of the collection, and ask them to come into the patient room with you.  It will be easiest to ask the patient’s RN to accompany you – or – ask another phlebotomist if staffing levels allow it.

Note:  CNA’s are NOT allowed to collect blood samples or assist as a verifier.

| Steps | Actions |
| --- | --- |
| 1. Obtain the proper supplies | - 7 mL EDTA tube - Phlebotomy supplies |
| 2. Bring all supplies needed into the room when you are ready to collect the specimen. | - All Blood Bank collection tasks must be performed at the patient’s bedside. It is NOT permissible to leave the patient’s room until collection task is completed as it interrupts the process and may lead to errors. |
| 3. 1st person (collector) scans the patient hospital armband at the patient’s bedside | - Asks the patient to state their name and date of birth, if able, while collector is observing the patient’s hospital armband. If necessary, have them spell it. - If the patient cannot perform this task due to intubation, sedation, etc, use the patient’s armband to verify ID. - Collector prints out specimen label and compares it to the information on the hospital armband to confirm patient identification accuracy. - Both name and date of birth on both the armband and the specimen label must match exactly. - An ADT label (from chart) may be used if a Beaker label cannot be produced. - Resolve any discrepancies before proceeding |
| 4. 1st person (collector) will draw the specimen | - Places label on specimen - Record date and time of collection on the specimen label. - Print legible collector initials with a slash following it on the specimen label. Do not obstruct the barcode. Example: ND/ - Notify Verifier that patient is ready for final verification task. |
| 5. 2nd person (verifier): | - Verifier may arrive prior to or when Step 4 has been completed. - The Collector must be present in the room until Step 5 has been completed. - Compare the patients identifiers on both the hospital armband and the specimen tube for accuracy - State the person’s name and birthdate as listed on the specimen label. - Ask patient: Is this your correct name and birthdate? - If patient cannot verbally respond, check the hospital armband. - Resolve any discrepancies before proceeding. - Print legible verifier initials on the specimen tube just to the right of the slash. Do not obstruct the bar code. Example: ND/JB |
| 6. Note: Specimens without this information will be rejected by the blood bank. |  |
| 7. Place the specimen in a biohazard bag for transport to SJMC blood bank. |  |

Note:  Once a specimen has left the bedside, no changes can be made to patient ID (name and DOB), date of collection, or collector/verifier initials.

CORRECTIONS TO THE SPECIMEN LABEL

1.	Only one correction may be made.

- The time of collection can be added by the transfusion staff after verifying it with the person who drew the specimen.   No other changes can be made.  The FDA requires that date and collector initials must be on the specimen prior to leaving the bedside.

2.	The specimen cannot be used and will be sequestered by the Transfusion Service upon receipt in the lab when:

- The correct, current date has not been either handwritten or circled on the hospital patient label

- Collector’s or verifier’s initials are missing from the specimen

Notes:

1.	A circled date will most often be seen on ED specimens.  Circling the date indicates that the collector has 	evaluated and noted the date to be correct.

2.	Recollection is required in all other circumstances.

RECEIVING TYPE & SCREEN (TNS) SPECIMENS INTO EPIC

1.	Receive the specimen into Beaker.

2.  	In the Lab comments field in the Receiving Screen:

- Enter the ID of the Verifier – initials will be found on the specimen.

- The smart phrase “.VERIF” can be used.

- Verifier was *** and add the verifier initials.

- If necessary, use the specimen update function to enter this information into the Lab Comments field.

Note:  Both the collector initials – and the verifier initials – will be on the Type & Screen specimen.  In the case below, the initials will be ND for the collector and JB for the verifier.

Verifier was JB

3. 	At SJMC, the Type & Screen specimen falls to the Outstanding List when received.

4.	For remote sites, the sample must be put on a packing list and sent to SJMC where it will be received.

- Make sure specimen at least ½ full

- Labelled properly including ID of collector &  verifier initials

5.	Specimen arrives in blood bank.  Use the written date and time of collection as being accurate.

- If an ABORH2 specimen arrives later, it will be distinguishable.

IF ADDITIONAL SPECIMEN IS REQUIRED TO COMPLETE AN ANTIBODY ID WORKUP

1.	If additional specimen is needed, the SJMC Blood Bank will notify the lab at the patient’s facility to collect/send more specimen.

2.	The date, time, and collector’s Tech ID or initials are documented on the specimen label.

PREADMIT SPECIMENS FOR SURGERY

When patients are pre-admitted for surgery, the pre-transfusion specimen may be drawn at the time of the pre-admission, provided the surgery date is within 14 days of collection, and the questions located on the “PreAdmit Questions for Type & Screen Specimen Form” have been completed.

- A second qualified person will be required to verify the patient name and date of birth using the steps found under the Specimen Collection heading above.

1. 	Ask the patient if they have received a blood transfusion within the last 90 days.  If the answer is:

- No—then draw the patient

- Yes—then do not draw the specimen.  See #3 below

2.	If the patient is female and is ≤ 50 yrs, ask the patient if she has been pregnant within the last 90 	days.  If the answer is:

- No—then draw the patient

- Yes—then do not draw the specimen.  See #3 below.

3.	If the answer to either of the above questions is YES, the patient must be drawn within 2 days of the 	surgery admission date.

4.	Return the form to the SJMC Blood Bank along with the specimen.  Call 127-6654 if you have any questions.

REFERENCE

AABB Standards for Blood Banks and Transfusion Services, current edition

| Please Complete Review by date: ASAP |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reviewer | Approval Required? | Date Reviewed | OK? | Not? | Suggestions |
| Eileen Cahill | X |  |  |  |  |
| Teri Emerson | Na-author |  |  |  |  |
| Linda Guay |  |  |  |  |  |
| Mike Harvey | X | 6/30/17 | Y |  | 1 question to clarify done tle |
| Jackie Hilyard | x | 6/30/17 |  |  |  |
| Inae Kim | X | 6/29/17 | X |  |  |
| Linda Kinkead |  |  |  |  |  |
| Cheryl Orr | X | 7/3/17 | X |  |  |
| Andrew Tejero | X |  |  |  |  |
| Anne Tuttle | X | 7-3-17 |  |  |  |
| Joanne Walsh | X | 6/29/17 | X |  | A couple of minor comments done tle |

| DOCUMENT APPROVAL Please Complete All Sections |  |
| --- | --- |
| Purpose of Document: (to be completed for Forms, Flowcharts and other documents that will be uploaded as attachments to parent documents in PolicyStat) |  |
| To define the process of collecting a pre-transfusion specimen once Blood Bands are no longer in use. |  |
| Was Document Title Changed? No Yes – Previous Title: Labelling PreTransfusion Specimens.________________ |  |
| Was New Document ID # Assigned? No Yes – Previous ID #: _M-W-TS-0100-10___________ |  |
| Reason for Change: |  |
| Imminent & permanent retirement of all blood bands |  |
| Attached Documents (list documents that should be linked/attached to this document in PolicyStat): |  |
| Committee Approval | Required (for multi-site / regional documents) Date Approved: ______________ Required for New Document Date Approved: ______________ N/A – revision of department-specific document which is used at only one facility |
| Effective Date | As soon as approved by FLOAT and/or uploaded Specific Date: _____________________ |
| Medical Director Approval | No significant change to process in above revision. Per CAP, this revision does not require further Medical Director approval. Medical Director approval needed – to be done in PolicyStat. |