Uni-Gold HIV Testing for Employee Exposures

Training Checklist

Name_____________________________Date______

- SPECIMEN:  whole blood in purple top (EDTA)

- Kit is stored at Room Temp – in lab on shelves above printers

- Follow procedure in package insert for “Venipuncture Whole Blood” p.2-3

- Results – refer to package insert for interpretation p.3

Valid results must have the following reactions (internal QC) to determine if pos/neg

- A control line present

- Red color present in the sample port

- Reporting – NOT in CPSI

- Record results in Immunology purple binder in lab located on shelves below printers

- Behind HIV divider on the HIV log log

- Follow instructions on log for recording results for source patient and employee (if applicable)

- Notify employee health nurse of results

Trained by_______________________________________Date_______

Proficiency or Blind Sample #___________

Result____________

Internal QC acceptable?_________