Rapid Testing – Strep A, Influenzae, HCG, Occult Blood

Training Checklist

Name_____________________________Date______

- Acceptable Specimens

- Strep A – red top dual swabs

- Influenzae – ONLY swab included with kit

- Occult Blood

- Urine/serum pregnancy (HCG)

- Kits stored at Room Temp in lab on shelves above printers

- Use kits w/ green sticker “This Lot Ready for Use” indicating the QC has been performed

- Follow procedure card included with each test kit

- Results – refer to procedure card for timing and interpretation of each test

- Valid results must have acceptable results for the internal QC:

Strep A, Influenzae, HCG:

- control line present

- Clearing of background so that control line and patient test result can be accurately determined

Occult Blood

- Positive dot = blue

- Negative dot = no blue

- Ordering/Reporting

- AFTER performing test - Order test in CPSI including collection date/time/initials

- Answer result questions as the boxes pop up

- Record results on Manual Laboratory Report Form when tested in ER checking the specimen type, result and internal QC boxes – MAKE A COPY FOR LAB!!

Strep A		Influenzae		    HCG	Occult Blood

Blind Sample #	___________	_________		________	___________

Result		____________	_________		________	___________

Internal QC acceptable?_________	_________		________	___________

Trained by_______________________________________Date_______