CBC Pentra 60+ Training Guide for Super Users

- Start Up

- Shut Down

- Patient Testing

- Entering/scanning lab# for specimen ID

- Ordering patient when CPSI down or no interface

- Results

- What normal results and abnormal results look like

- General flags i.e. critical results, !, ----, etc.

  - action to take for each

  - When to send to HEB

- Other flags – see printed report

- How to re-run a sample

- Running QC

- What tab/what control# to use

- Acceptable vs. unacceptable results

- Logs

- User’s log: making comments

- Reagents

Name___________________________________________Date Trained_____________

Trainer_______________________________________