POLICY:

To insure the temperature of the processing refrigerator is monitored on a daily basis.

PROCESS:

- Leave the thermometer on the inside of the refrigerator.

- Attach a new temperature chart to the outside door of the refrigerator monthly.

- Record the temperature on a daily basis.

- Send a copy of the chart to the main lab at the end of every month to the Supervisor’s attention.

NOTE: Acceptable temperature range is 2 – 8 ۫C.

- If the temperature of the refrigerator is outside the acceptable range:

  - Ensure the refrigerator is working properly

  - Adjust thermometer and re-take temperature that day.

  - Document on chart the issue and the follow up.

  - Notify the Supervisor.

Example of Temperature Chart:

Winchester Hospital

Laboratory Collection Station

TEMPERATURE CHART

Location: _______________

Month:	________________

Year:___________________

Range:	2° C to 8° C

| # DAY | TEMPERATURE | TECH/PHLEB | COMMENTS/ACTIONS |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| 5 |  |  |  |
| 6 |  |  |  |
| 7 |  |  |  |
| 8 |  |  |  |
| 9 |  |  |  |
| 10 |  |  |  |