POLICY STATEMENT:

Seliwanoff’s test for fructose calls for converting fructose to hydroxy methyl furfural, using hot hydrochloric acid. The hydroxy methyl furfural then combines with resorcinol to produce a red colored compound. The test is performed on semen specimens for fertility analyses that have a sperm count of less then a million.

REAGENTS:

- Resorcinol Solution

  - Preparation

    - Combine 0.5 gms. of resorcinol and 33 ml. of concentrated HCL.

    - Dilute above solution with distilled water to a total volume of 100 ml.

  - Store in a dark bottle at 2-8ºC.

  - Reagent is stable for one year.

- Positive Control Solution

  - Combine 0.25 gms of fructose and 50 ml of distilled water.

  - Reagent is stable indefinitely when stored at 2-8ºC.

- Negative Control Solution

A   DI water is used as a negative control.

QUALITY CONTROL:

- Positive and negative controls are prepared as indicated.

- Controls are run with every test batch, and results are entered in the Meditech system.

- If expected results are not obtained, repeat testing. Do not report patient results.

- Notify supervisor if repeat controls do not work.

PROCESS:

- Label test tubes for positive and negative controls, and patient testing.

- Into each tube, pipette 0.1 ml. of the appropriate sample.

- Add 1.0 ml of resorcinol reagent to each tube and mix thoroughly.

- Bring a beaker of water to a boil on a hot plate.

- Place the three tubes into the boiling water for 30 seconds or until the positive control turns red

- Create an “FMISC” worksheet.

- Enter results on worksheet and report in LIS.

- Reprint worksheet, check for clerical errors, initial and attach the original

worksheet, place in appropriate file after closing the worksheet.

REPORTING RESULTS:

- Positive tests will turn red, negative tests will remain unchanged.