CAP questions pertaining to phleb and processing:

GEN.40470 Specimen Collection Training Phase II

There are records that all personnel collecting patient specimens have been trained in

collection techniques and in the proper selection and use of equipment/supplies and are

knowledgeable about the contents of the specimen collection procedures.

NOTE: This applies to laboratory employees, including those at remote sites that are owned and

operated by the laboratory.

It applies to all personnel who collect and test samples under the laboratory's CAP number,

such as for point-of-care testing and for blood gas analysis. It does not apply to the collection

of specimens sent to the laboratory by hospital personnel or from outside sources. All types of

specimen collection techniques (e.g. phlebotomy, capillary, arterial, in-dwelling line, phlebotomy

during intravenous infusion), as well as non-blood specimens, must be included in the training

in accord with the individuals' duties. If the laboratory uses prepackaged kits for specimen

collection, any special instructions that accompany the kit must be part of the training.

GEN.40700 Requisitions Phase II

All specimens are accompanied by an adequate requisition.

NOTE: In computerized settings, there may not be a paper requisition that is physically attached

to the specimen container.