## Slide 1: Vein Viewer Flex
Training

## Slide 2: Vein Viewer
Non-invasive visual aid device designed to detect superficial blood under the skin and project an image of the blood pattern on the surface on the skin.

## Slide 3: How does it work?
Projects near-infrared light that is absorbed by blood and reflected by surrounding tissue.
Information is captured and projected in real time onto the surface of the skin.
Allows you to see veins/arteries up to 10 mm.

## Slide 4: Overview

## Slide 5: Control Panel

## Slide 6: Status Indicator and Display

## Slide 7: Imaging Modes-Demonstrate
Focus Vein Viewer-12 in for optimal focus.
90° Angle

## Slide 8: Warnings
Do not look directly at light.
Vein viewer is non-laser based and presents no heat or eye safety issues. However, the light output is very bright.
Don’t shine the light in eyes or use near the eyes.
Don’t tough the lens.
Shallow arteries may be detected and not distinguished from veins.

## Slide 9: Battery/Charging
Demonstrate Battery installation.
Battery only charges while on the charger.
Charge lasts approx. 2 hrs of continuous use.
Takes 4 hrs to fully charge.
Charge lasts approx. 72 hours while in the VeinViewer.
VeinViewer can be connected to wall outlet.

## Slide 10: Charger Icons

## Slide 11: C Clamp

## Slide 12: S Clamp

## Slide 13: S Clamp

## Slide 14: S Mount

## Slide 15: S Mount Adjustment

## Slide 16: Cart Overview
Outlet Power
Wheel Locks

## Slide 17: Maintenance
Cleaning Surfaces
  Wear PPE.
  Super Sani-Cloth or 70% isopropyl alcohol
  Wipe outer surface (not the lens).
  Allow to air dry or towel dry.
  Clean after each use.

## Slide 18: Maintenance
Cleaning Lens
  Power off device and disconnect from outlet.
  Use lint-free cloth moistened with 70% isopropyl alcohol.
  Dry with lint-free cloth.

## Slide 19: Drop Event
Unplug from outlet/remove battery.
Inspect outer casing
Inspect projection window
Inspect Battery
If damaged, do not use.
If not damaged, check image display focus and alignment.

## Slide 20: Image Alignment

## Slide 21: Questions?

## Slide 22: End of Presentation
Please complete the VeinViewer Flex Training Checklist and submit it to your supervisor.
References
  Christie VeinViewer Flex User Guide.

## Slide 23: Thank you