Non-Technical SOP

| Title | Procedure for Handling Inappropriate Referral of Proficiency Material or Inter/Intra-laboratory Communication of Proficiency Test Information |  |
| --- | --- | --- |
| Prepared by | Karen Rupke, Patricia Maloney, Christine Vernusky | Date: 12/14/2011 |
| Laboratory Approval | Effective Date: |  |
| Print Name and Title | Signature | Date |
| Refer to the electronic signature page for approval and approval dates. |  |  |
| Review |  |  |
| Print Name and Title | Signature | Date |

| Corporate Approval |  |  |
| --- | --- | --- |
| Owner | Patricia Maloney Director, Corporate Medical Regulatory Affairs |  |
| Signature | Patricia Maloney Electronic Signature | Date: 1/6/2012 |
| V.P. and Chief Laboratory Officer | Stephen C. Suffin, M.D. |  |
| Signature | Stephen C. Suffin, M.D. Electronic Signature | Date: 1/6/2012 |
| Corporate Issue Date | 1/9/2012 |  |

| Retirement Date: |  |
| --- | --- |
| Reason for retirement/replacement: |  |

TABLE OF CONTENTS

1.	PURPOSE	2

2.	POLICY	3

3.	SCOPE	3

4.	RESPONSIBILITY	5

5.	DEFINITIONS	6

6. 	IDENTIFICATION OF A SUSPECTED PROFICIENCY TEST REFERRAL FROM AN EXTERNAL LABORATORY	6

7. 	REFERRAL OF PROFICIENCY TEST TO ANOTHER LABORATORY	8

8. 	COMMUNICATION ABOUT PROFICIENCY TESTING	8

9.	SUPERVISOR/MANAGER ESCALATION	9

10.	QUALITY ASSURANCE INVESTIGATION	9

11.	RECORDS MAINTENANCE	10

12.	RELATED DOCUMENTS	10

13.	REFERENCES	10

14.	REVISION HISTORY	11

15.	APPENDICES/ADDENDUM	11

# 1.	PURPOSE

This document sets forth the procedure for the identification and handling of inappropriately communicated, submitted, tested or referred proficiency samples or information.  Inappropriately submitted, tested or referred proficiency samples are defined as any proficiency test sample OTHER than those submitted by the local laboratory Quality Assurance Department for testing.

In compliance with the Clinical Laboratory Improvement Amendments (CLIA) requirements 493.801 (b)(3), the College of American Pathologists (CAP) and specific state requirements, laboratories that perform tests on proficiency testing samples must not engage in any inter- or intra-laboratory communications about proficiency testing sample(s) until after the deadline for submission of data to the proficiency testing provider. Quest Diagnostics requirement is no communication / referral before formal evaluation of results by the proficiency testing provider.

Laboratories with multiple testing sites or separate locations must not participate in any communications or discussions across sites/locations concerning proficiency testing sample results until after the date the results are formally evaluated by the Proficiency Testing (PT) provider.  Any laboratory that the Centers for Medicare and Medicaid Services (CMS) determines intentionally engaged in inter- or intra-laboratory communications regarding an active proficiency testing event before the deadline for submission of data to the proficiency testing provider may have its certification revoked for at least one year or be subject to civil money penalties.

In compliance with CLIA requirements 493.801(b)(4), the laboratory must not send PT samples or portions of samples to another laboratory for any testing for which it is certified to perform in its own laboratory (even if the laboratory refers patient samples). Any laboratory that the Centers for Medicare and Medicaid Services (CMS) determines intentionally referred its proficiency testing samples to another laboratory for analysis will have its certification revoked for at least one year.

Any laboratory that receives proficiency-testing samples from another laboratory for testing must notify CMS of the receipt of such samples, even if the laboratory is owned or operated by Quest Diagnostics.  Failure to notify CMS of receipt of inappropriate test orders will be subject to sanctions (including, but not limited to civil money penalties).

# 2.	POLICY

- The laboratory must not knowingly accept or test any PT material from another laboratory prior to formal evaluation of results by the PT provider.

- The laboratory must not send any PT material to another laboratory for testing.  (NOTE:  PT material may be shared AFTER the PT provider has formally evaluated results).

- The Laboratory must not perform any testing on suspect PT material.

- Laboratory personnel must not engage in any inter- or intra-laboratory communications about proficiency testing sample(s) until formal evaluation by the proficiency testing provider.

- Laboratory personnel must not discuss any concerns about the assay, reagents or run containing a PT sample with another laboratory.  They must contact their laboratory director for advice; and NOT discuss the issue with another laboratory.

- Questions regarding proficiency testing material, testing or reporting must be directed to the PT provider.

- Laboratory personnel must immediately notify their Laboratory Director or designee of any concern about potential inappropriate handling of PT material or information.

- The Laboratory Director or designee must notify Corporate Medical Regulatory Affairs for guidance regarding any suspect inappropriate handling of PT material or information.

- If the laboratory determines that it has received PT samples from another laboratory for testing, the Laboratory Director, in collaboration with Corporate Medical Regulatory Affairs, will provide appropriate notification to CMS and other regulators as required.

- The laboratory must sequester any suspect PT material or information received from another laboratory, site, or location.

- All staff (as appropriate for their job description) will be trained on this procedure:

- Within 30 days of hire (including temporary employees)

- Annually

- Whenever changes are made to the policy or procedure

# 3.	SCOPE

- This procedure applies to proficiency testing irrespective of regulated status of the analyte designated by CMS (e.g., regulated and non-regulated analytes).

- This procedure applies to all proficiency material irrespective of the provider (e.g., CAP, AAB, WLSH, Pennsylvania, New York and other State agencies).

- This procedure applies to all appropriate personnel (pre-analytical, analytical, and post-analytical) in all Quest Diagnostics laboratories, including main and esoteric laboratories (e.g., Quest Diagnostics Nichols Institutes, Focus, Athena, Berkeley HeartLab, etc.), RRLs, all remote accessioning locations (including off-site Quest Diagnostics employees that accession specimens), Quest Diagnostics managed sites or hospital labs with licenses in the Quest Diagnostics name except as detailed below:

  - Pathologists who perform Anatomic Pathology testing do not need to be trained unless:

  - The pathologist signs out HER2 Immunohistochemistry or other predictive/prognostic IHC markers (PM1- PM4 for predictive markers; CD117, ER, CD20, EGFR).

  - The pathologist reviews or interprets any patient test for Clinical Pathology (e.g., Differentials, Electrophoresis, Flow Cytometry).

  - Phlebotomists at patient service centers who are provided with targeted training on how to identify suspect PT samples when accepting and accessioning samples not collected by Quest Diagnostics staff.

  - Stand alone Point of Care Testing Sites (POCT). These sites must follow the standard POCT policy specific for this type of testing (Proficiency Test Handling and Results Submission for Point of Care Testing Sites, QDPS82).

EXCEPTIONS TO THIS PROCEDURE:

- Predictive Markers (HER2 and Other Immunohistochemical Stains)

  - If you ordinarily send specimens to an outside laboratory for immunohistochemical staining (but do your own interpretation), the CAP samples must be also be sent to the same reference lab for staining.

  - The laboratory that interprets HER2 or predictive marker slides stained by another facility must enroll in an accepted PT program and report the results of their interpretation following their usual methods.

  - If the laboratory routinely accepts unstained slides on patient samples for immunohistochemical staining only, it MAY accept unstained PT survey slides for staining.

- CAP Laboratory Preparedness Exercise (LPX).  This exercise is not considered proficiency testing.

- Cytology.  This procedure excludes PT that is explicitly addressed in the External Proficiency Testing for Gynecological Cytology SOP.

NON-COMPLIANCE WITH THIS SOP:

- The following may result in actions up to and including termination:

- Knowingly referring a PT sample to another laboratory.

- Knowingly accepting a PT sample from another laboratory.

- Knowingly engaging in any inter- or intra-laboratory communications about proficiency testing sample(s) before formal evaluation of results by the proficiency testing provider.

- Failure to fully cooperate and be truthful in any investigation regarding suspected non-compliance with this policy may result in actions up to and including termination.

# 4.	RESPONSIBILITY

- The Laboratory Director (CLIA license holder) is responsible for:

- Local approval and implementation of this standard operating procedure (SOP), and any subsequent revisions.

- Ensuring the implementation of this SOP in all relevant departments.

- Ensuring compliance with this SOP.

- Providing the investigation and notification as appropriate to Corporate Medical Regulatory Affairs and CMS of any suspected or confirmed inappropriate Proficiency Material referral event or inappropriate PT inter- or intra-laboratory communication.

- Directly contacting the client’s Laboratory Director if suspect PT referral or communication has occurred.

- The Laboratory Director or designee is responsible for:

- The recurring review of this procedure.

- Ensuring appropriate handling of PT material.

- The Department Supervisor/Manager is responsible for implementing and ensuring compliance with this procedure in the pre-analytical and post-analytical department for which he/she is responsible.

- The Technical Supervisor is responsible for:

- Implementing and ensuring compliance with this procedure in the analytical department(s) or laboratory(ies) for which he/she is responsible.

- Ensuring documented training in his/her department(s) for all employees including new hires (within 30 days of hire AND prior to handling PT samples).

- The Branch Operations Director/Manager or designee is responsible for ensuring documented annual PT compliance training for all personnel involved in remote specimen accessioning activities and for the maintenance of all documents and records associated with this procedure.

- The Quality Assurance department is responsible for ensuring annual PT compliance training and maintenance of all records associated with this procedure.

Note: The QA Department is also responsible for the oversight of the PT Program for Point Of Care Testing, Waived Sites as stated in Proficiency Test Handling and Result Submission for Point of Care Testing Sites QDPS82.

# 5.	DEFINITIONS

- CLIA: Clinical Laboratory Improvement Amendments

- CMS:  Centers for Medicare and Medicaid Services.   The Centers for Medicare & Medicaid Services (CMS) regulate all laboratory testing (except research, forensic and SAMHSA drug testing) performed on humans in the U.S. through the Clinical Laboratory Improvement Amendments of 1988 (CLIA).

- Proficiency Testing (PT): The process that uses samples from a PT provider to demonstrate the laboratory’s ability to provide accurate and reliable results in its patient testing system. The process incorporates elements of pre-analytical, analytical, and post-analytical areas. Educational challenges are to be handled the same way as routine proficiency testing.

- Test Send Out (TSO): The department responsible for referral of samples to other laboratories.

# 6. 	IDENTIFICATION OF A SUSPECTED PROFICIENCY TEST REFERRAL FROM AN EXTERNAL LABORATORY

Quest Diagnostics MUST NOT ACCEPT proficiency sample(s) from another laboratory (including another Quest Diagnostics laboratory).

Quest Diagnostics MUST NOT TEST any proficiency sample(s) received from another    laboratory (including another Quest Diagnostics laboratory).

- Any staff involved in pre-analytic, analytic, and post-analytic laboratory processes including employees that receive or log-in samples (including remote accessioning and off-site Quest Diagnostics employees that accession specimens), test samples, report results or refer samples for testing as well as departments that communicate with clients (e.g., Specimen Processing, Technical Operations, Test Send Out (TSO) and Client Services & Solutions personnel) must use reasonable efforts to identify a proficiency test sample.  This may be done through visual recognition, or through electronic capture in the laboratory’s information system (where available), or any requisition, worksheet or manifest that may accompany a proficiency test sample.

Staff will take the following actions:

| IF… | THEN… |
| --- | --- |
| A sample, requisition, worksheet, manifest or electronic order from any CLIENT or INTERNAL DEPARTMENT has any of the acronyms listed on the “Suspect Proficiency Sample” poster (Appendix A) in the patient name field OR Any of these acronyms displayed anywhere on the requisition or electronic order…. OR A patient name is coded and reflects any of these acronyms (or similar acronyms or survey mailing descriptions e.g., SB-01) and has a two-digit number such as 01, 02, and 03…. | DO NOT process the order AND Refer the entire order to the department or shift supervisor. (See Section 9 for Supervisor/Manager Escalation Process) RRL Instructions: - DO NOT process the order - Sequester all suspect samples - Document the case on the “Suspect Proficiency Sample” Form (Addendum A) - Contact the Main Laboratory QA department, the RRL Manager or Technical Supervisor (See Section 9 for Supervisor/Manager Escalation Process) |
| A sample type, sample integrity or result creates suspicion that the sample MAY be a PT sample… | - The department must immediately stop all testing on the suspect sample(s). - Sequester all available suspect sample(s). AND - Notify the department supervisor, manager, Laboratory Director, or QA (RRLs: Contact the Main Laboratory QA department, the RRL Manager or Technical Supervisor) (See Section 9 for Supervisor/Manager Escalation Process) |
| Upon review of a requisition or any electronic record any of the acronyms listed on the “Suspect Proficiency Sample” poster (Appendix A) are in the patient name field OR The paper or electronic report has any of the acronyms listed above in the patient name field | Refer all relevant information to your supervisor. (See Section 9 for Supervisor/Manager Escalation Process) |
| At any time, when clarifying a test order or discussing a result, the client states or implies that the sample submitted is proficiency material | Refer all relevant information to your supervisor. (See Section 9 for Supervisor/Manager Escalation Process). RRL Instructions: - DO NOT process the order - Sequester all suspect samples - Contact the Main Laboratory QA department, the RRL Manager or Technical Supervisor (See Section 9 for Supervisor/Manager Escalation Process) |

- Note:  Exceptions to this process are those samples submitted under an internal QA account for the laboratory’s own proficiency testing to be tested on site.

- The “Suspect Proficiency Samples” Poster reminding staff of this requirement (Appendix A) must be displayed prominently throughout the appropriate departments.

# 7. 	REFERRAL OF PROFICIENCY TEST TO ANOTHER LABORATORY

Quest Diagnostics MUST NOT REFER any portion of a proficiency test sample to another laboratory (including another Quest Diagnostics laboratory).

- If reflex testing would normally trigger referral of the patient sample to another laboratory for further testing, the PT sample must not be referred to another laboratory. Only the initial screening result generated by the enrolled laboratory can be tested and reported.

Note:  Any reflex test order codes that would normally trigger referral of the patient sample to another laboratory for further testing may not be used for any PT. A unique order code without reflex must be built for PT.

- If an instrument or test is down and the laboratory is sending patient samples to another laboratory for testing, proficiency test samples that were scheduled for this test must not be referred. Only patient samples may be referred for testing.

# 8. 	COMMUNICATION ABOUT PROFICIENCY TESTING

Quest Diagnostics MUST NOT engage in either Intra- or Inter-laboratory communication about proficiency testing sample(s) before formal evaluation of results by the proficiency testing provider (including communication with another Quest Diagnostics laboratory).

Staff will take the following actions:

| IF… | THEN… |
| --- | --- |
| You are contacted by another laboratory (by any means of communication i.e., email, phone, text, verbal, etc.) to discuss an active proficiency test survey result | Do not engage in any response to such a communication. Immediately contact your Supervisor, QA Department or Laboratory Director. |
| At any time, when clarifying a test order or discussing a result, the client states or implies that the sample submitted is proficiency material | Refer all relevant information to your supervisor. (See Section 9 for Supervisor/Manager Escalation Process). RRL Instructions: - DO NOT process the order - Sequester all suspect samples - Contact the Main Laboratory QA department, the RRL Manager or Technical Supervisor (See Section 9 for Supervisor/Manager Escalation Process) |

# 9.	SUPERVISOR/MANAGER ESCALATION

Whenever a department/shift supervisor, department manager, RRL manager or Technical Supervisor is made aware of a potentially inappropriate submission, testing or referral of proficiency material s/he will:

  - Initiate a “Suspect Proficiency Sample” form (Addendum A).

  - Sequester all samples (maintaining sample stability).

  - Submit “Suspect Proficiency Sample” form to QA Department immediately.

# 10.	QUALITY ASSURANCE INVESTIGATION

- All events where the laboratory suspects a PT sample may have been inappropriately submitted, tested of communicated must be documented on the “Suspect Proficiency Sample” form (Addendum A).

- Upon notification (via email, voice mail, LIS mail, etc.), QA will do the following:

| STEP | ACTION…. |  |
| --- | --- | --- |
| 1 | Investigate the event by any or all of the following: - Review of the original requisition and samples. - Review of patient information provided (including Insurance information). - Check to see if there is an “active” PT survey in the lab for the same test(s). - Contact the client for order clarification and if appropriate (i.e., client claims sample is not PT), obtain a letter from the client describing what the sample is (e.g., correlation studies). - Other steps as needed. |  |
| 2 | If it is determined that the sample is NOT proficiency material: |  |
|  | a. | Document reasons/supporting information on the “Suspect Proficiency Sample” form (Addendum A). |
|  | b. | Contact the Supervisor that submitted the “Suspect Proficiency Sample” form (Addendum A) and release the order for processing. |
| 3. | If it is determined that the order is MOST LIKELY a proficiency test sample, QA must: |  |
|  | a. | Immediately contact: - Local Laboratory Director (CLIA license holder) AND - Medical Regulatory Affairs |
|  | b. | Review LIS for ALL accessions submitted by this client (on day of event) and determine if other suspicious samples were submitted. |
|  | c. | Determine if ANY of the suspect PT tests were performed or reported. Delete all suspect PT tests (if any have been ordered) with a generic TNP message “Test Not Performed” (QLS Message TNP329) and document action in the LIS problem tracking). |
|  | d. | Sequester all samples, requisitions and reports (as applicable). Take pictures of samples/material received into the laboratory. NOTE: Any samples sequestered during this process may be disposed of when the event is closed by the regulatory agency or the laboratory. |
|  | e. | Complete documentation as required on Addendum A. |
|  | f. | Retain all associated documents in the QA department in a designated file labeled “Suspect PT Investigations”. |
|  | g. | Report to originating department/RRL the outcome of the investigation. |
| 4. | If it is determined that the order is MOST LIKELY a proficiency test sample, the Laboratory Director must: |  |
|  | a. | In collaboration with Corporate Medical Regulatory Affairs, provide appropriate and timely notification as appropriate to regional CMS, CAP or the State Agency to report the suspected event. (Note: New York State must be notified within 72 hours.) |
|  | b. | Contact the client (Laboratory Director) and notify them that CMS, CAP or the State Agency has been/will be contacted. |
| 5. | If a State, Federal or other regulatory agency requests additional information, as per the Federal and State Agency Laboratory Performance Investigations SOP, contact Medical Regulatory Affairs. |  |

# 11.	RECORDS MAINTENANCE

Records are maintained according to the requirements for Quality Assurance records published in the Quest Diagnostics Records Management Program.

# 12.	RELATED DOCUMENTS

- Quest Diagnostics Proficiency Test Handling and Results Submission (QDNQA711)

- Quest Diagnostics Proficiency Test Handling and Results Submission for Point of Care Testing Sites (QDPS82)

- Quest Diagnostics Records Management Program

- Quest Diagnostics Federal and State Agency Laboratory Performance Investigations SOP and Program Directive.

# 13.	REFERENCES

- CLIA Public Health 42 CFR Part 493.801(b)(3)&(4)

- CAP Laboratory Requirements (www.cap.org)

# 14.	REVISION HISTORY

| Version | Date | Revision Purpose | Name |
| --- | --- | --- | --- |
| 1.0 | 4/2009 | New | Authors |
| 1.1 | 4/2007 | - See Revision History in Version 1.1 | R. Willis R. Breazeale V. Sturmfels |
| 2.0 | 7/2008 | - See Revision History in Version 2.0 | P. Maloney R. Breazeale |
| 3.0 | 7/2009 | - See Revision History in Version 3.0 | P. Maloney R. Breazeale K. Rupke |
| 3.1 | 8/2009 | - See Revision History in Version 3.1 | K. Rupke |
| 4.0 | 8/10/2010 | - Added references to Pennsylvania throughout document - Section 6: B, C and E Added information about Test Down and DO NOT send PT samples with patient samples. | Patricia Maloney Karen Rupke |
| A | 1/5/11 | - Adopting corporate issued version 4.0 (revision above) - Local revisions: Section 7: The Medical Director and Laboratory Administrative Director will be notified immediately of any suspected irregularities with a Proficiency Survey. | N. Johnson |
| 5.0 | 12/2011 | - Added clarification and simplification to Scope, Exceptions and Responsibility sections - Combined department specific instructions into main categories of Proficiency Test Identification, Referral and Communication - Added required steps to the Quality Assurance Investigation - Changed labeling of Appendices / Addendum | Patricia Maloney Karen Rupke Christine Vernusky |
| 4.0A | 5/30/2012 | Adopting corporate issued version 5 with above revisions dated 12/2011. Local revisions as follows: - Included version 4 revisions in revision history table. | Nancy Johnson |

# 15.	APPENDICES/ADDENDUM

|  | File Name | Title |
| --- | --- | --- |
| Addendum A | Attached | Suspect Proficiency Sample Form |
| Appendix A (labs may add additional acronyms to the poster if needed) | QDNQA712.v5_Appendix A | Identification and Rejection of Inappropriately Submitted Proficiency Material Department “Suspect Proficiency Samples” Poster |

ADDENDUM A

SUSPECT PROFICIENCY SAMPLE FORM

Date Received/Identified: ________________________________________________________

Department: ___________________________________________________________________

Identified By: ______________________________________ Time: ________________________

Patient Identification on requisition: ________________________________________________

Client # and/or Name: ___________________________________________________________

Accession # (if available) ___________________________________________________________

Reason for suspecting PT referral: __________________________________________________

______________________________________________________________________________

Location of sequestered sample(s):  _________________________________________________

QA notified via:  E-mail _____ Voice mail _____ Memo _____ LIS _____ other _____

Date and time:  _________________________________________________

By Whom:  ____________________________________________________

QA Investigation:  Performed by:  _________________________________________________

Date: _________________________________________________________

Was result reported?      Yes    No   Did LIS search finds related samples?      Yes    No

Other relevant information:

Resolution:

Notification:

 Corporate Medical Regulatory Affairs   	Date: _____________________

Name: __________________________________________________

 Legal Operations Attorney			Date: _____________________

Name: __________________________________________________

 Laboratory Director 			Date: _____________________

Name: __________________________________________________

 Client 					Date: _____________________

Name: __________________________________________________

 Originating Dept				Date: _____________________

Name: __________________________________________________

Most likely determined to be PT:  Yes  No      (If Yes, CMS Notification Required)

Is this material from New York State?   Yes  No      (If Yes, NYS Notification Required)

 CMS  					Date: _____________________

Name (CMS Contact): ________________________________________________

 NYS  					Date: _____________________

Name (NYS Contact): ________________________________________________

Name:	________________________________________________________

Title: _________________________________________________________

Signature: _______________________________________ Date: _____________________

(Laboratory Director or designee)

Attachment(s) specify below:  (e.g. requisitions, reports, LIS audit trail documents)

- __________________________________________________________________

- __________________________________________________________________

Appropriate personnel include any staff involved in handling any aspect of the pre-analytic, analytic, and post-analytic laboratory processes that receive or log-in samples, test or report results of proficiency testing samples or refer samples for testing as well as departments that communicate with clients (e.g., Specimen Processing, Technical Operations, Referral Testing and Client Services & Solutions personnel).

CMS has ruled that IHC staining is a process, not an analysis and so the process of staining can be sent out but the interpretation, which is the analysis, must be done where the patient interpretations are routinely done.  The same rule does not apply to FISH probes. CMS has ruled that FISH probe application is analysis and therefore cannot be referred.