DIMENSION VISTA MAINTENANCE LOG

Quest Providence Hospital

Washington, DC

VISTA 1

MONTH/YEAR ________________________				S/N ________DV330721_________

| DAILY |  | 1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 |  | 12 | 13 | 14 | 15 | 16 |  | 17 | 18 | 19 | 20 | 21 |  | 22 | 23 | 24 | 25 | 26 |  | 27 | 28 | 29 | 30 | 31 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Run Probe Test |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Check Temperature / Humidity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clean Sample Area/ Inspect Racks |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Empty Waste A & B |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Replenish Supplies / Flexes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Run 6 cups Serum Lytes / Dayshift |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| WEEKLY | Inspect IMT Module for Salt Crystals |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clean Reagent Residue on Baseplate |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Replace DVD in EasyLink |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bi-Weekly |  | Date and Initials |  |  |  |  |  | Date and Initials |  |  |  |  |  | Date and Initials |  |  |  |  |  | Date and Initials |  |  |  |  |  | Date and Initials |  |  |  |  |  | Date and Initials |  |  |  |  |  |
|  | Replace IMT Sensor / Record Sensor Lot # |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MONTHLY | Replace Air Filters |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clean Sample/Reagent Drains |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clean Aliquot Waste Chute |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Inspect IMT Peristalic Pump Tubing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clean Flex Inserts |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clean Aliquot Probe Tip |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Millipore Water Check (Bacterial Count) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Bleach IMT Drain |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IMT Advanced Clean |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Perform IMT DilCheck |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

### WEEKLY REVIEW/_______/_______/_______/_______/_______/        MONTHLY REVIEW:	_______________________________	DATE:	__________________________

DIMENSION VISTA MAINTENANCE LOG

Quest Providence Hospital

Washington, DC

VISTA 2

S/N ________DV330722________

MONTH/YEAR ________________________

| DAILY |  | 1 | 2 | 3 | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 | 11 |  | 12 | 13 | 14 | 15 | 16 |  | 17 | 18 | 19 | 20 | 21 |  | 22 | 23 | 24 | 25 | 26 |  | 27 | 28 | 29 | 30 | 31 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Run Probe Test |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Check Temperature / Humidity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clean Sample Area/ Inspect Racks |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Empty Waste A & B |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Replenish Supplies / Flexes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Run 6 cups Serum Lytes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| WEEKLY | Inspect IMT Module for Salt Crystals |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clean Reagent Residue on Baseplate |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bi-Weekly |  | Date and Initials |  |  |  |  |  | Date and Initials |  |  |  |  |  | Date and Initials |  |  |  |  |  | Date and Initials |  |  |  |  |  | Date and Initials |  |  |  |  |  | Date and Initials |  |  |  |  |  |
|  | Replace IMT Sensor / Record Sensor Lot # |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MONTHLY | Replace Air Filters |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clean Sample/Reagent Drains |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clean Aliquot Waste Chute |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Inspect IMT Peristalic Pump Tubing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clean Flex Inserts |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clean Aliquot Probe Tip |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Millipore Water Check (Bacterial Count) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Bleach IMT Drain |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IMT Advanced Clean |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Perform IMT DilCheck |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

### WEEKLY REVIEW/_______/_______/_______/_______/_______/        MONTHLY REVIEW:	_______________________________	DATE:	__________________________

Batch Mode for Lot to Lot testing or running Irons

*** Use BLUE RACKS**

1.	Touch Advanced Icon

2.	Touch Samples

3.	Touch Blue Bar Drop Down

4.	Select Batch Mode Test Setup

5.	Touch Modify Batch Mode Config

6.	Remove Selected Tests from “Number of Selected Methods” column

7.	Touch the methods required for the “Lot to Lot” or the “Lytes”studies.

8.	Touch “Save Changes” in the Action Box.

9.	9.a.  Select  Batch Mode to run the Lytes.

9.b.  Select Lot Crossover if performing a lot to lot comparison.

9.b.1	Make sure both lots are on board if performing a lot to lot comparison.

9.c.	Make sure you see the green alert “Batch is ON” on the main menu screen.

10.	Place samples in a blue rack and put them in the input lane of the Vista.

11.	Get the printouts.

12.	Review patient results.

12.a	If lot to lot patient results, put results in the file folder in the Lead Tech office.

12.b 	For the lytes run just discard results.

13.	When complete, touch the green alert “Batch Mode is ON”.

14.	In Batch Mode section, touch off, to turn off the batch mode.

15.  	Put blue racks away.