Nichols Institute laboratory at Providence Hospital

LABORATORY ALERT

The Laboratory is informing you of the following new laboratory testing information:

| Effective Date: | 03/12/2012 |
| --- | --- |
| Test Name: | # Code Stroke |
| Test Code: | N/A |
| Specimen Requirements: | N/A |
| Ranges: | N/A |
| Procedure: | - When samples for a Code Stroke case are brought to the laboratory, the Specimen Processing Department will: - Spin the Green and Blue Top tubes in processing - Let the Tech in Charge know that we have a Code Stroke case - Order the tests - Label the samples and give the Lavender Top tube to Hematology, Blue Top tube to Coagulation and Green Top tube to Chemistry - Fill out the top part (up to “Specimen Processor Name”) on the “Lab Code Stroke Checklist” and give it to the Hematology department with the Lavender Top tube - Log the case in the “Code Stroke Log Book” (This is a regulatory requirement for Stroke Center certification) - The Testing Departments will: - Complete “Time Received”, “Time Completed” and “Tech initials” for their respective departments - Release correct results as soon as they are ready - The Tech in Charge will: - Ensure that results are released when they are available - Ensure that the Checklist is complete - Sign the checklist when all testing is complete - File Checklist into the Code Stroke Log Book, located in Specimen Processing |