## Slide 1: Case Presentation (08-13)
The patient is a 51-year-old man whose primary complaint is shortness of breath. Chest x-ray reveals the presence of pleural effusion.
Pleural fluid sample laboratory findings include: WBC = 23,500/μL (23.500 × 103/μL); RBC = 71,500/μL (71.500 × 103/μL).

## Slide 2: CMP-08
Macrophage containing abundant small lipid vacuoles/droplets (Lipophage)

## Slide 3: Macrophage containing abundant small lipid vacuoles/droplets (Lipophage)
Response | Quest | All Participants (%)
Macrophage containing abundant small lipid vacuoles/droplets (Lipophage) | 48 | 65.8
Monocyte/macrophage | 5 | 19.8
Macrophage containing hemosiderin (Siderophage) | 5 | 6.2
Neutrophil/macrophage with phagocytized bacteria | 1 | 3.4
Immature/Abn Refr | 1 | 

## Slide 4
Bacteria
Siderophage

## Slide 5: CMP-09
Erythrocytes

## Slide 6: Erythrocytes
Response | Quest | All Participants (%)
Erythrocytes | 61 | 99.9

## Slide 7: CMP-10
Platelet, normal

## Slide 8: Neutrophil, segmented or band
Response | Quest | All Participants (%)
Neutrophil, segmented or band | 61 | 98.9

## Slide 9: CMP-11
Mesothelial cells

## Slide 10: Mesothelial cells
Response | Quest | All Participants (%)
Mesothelial cells | 59 | 96.2
Immature/Abn Refr | 2 | 

## Slide 11: CMP-12
Lymphocyte

## Slide 12: Lymphocyte
Response | Quest | All Participants (%)
Lymphocyte | 61 | 99.3

## Slide 13: CMP-13
Monocytes/macrophages

## Slide 14: Monocytes/macrophages
Response | Quest | All Participants (%)
Monocytes/macrophages | 62 | 98.3

## Slide 15: CMMP-30
Ferning is absent

## Slide 16: Ferning is absent
Response | Quest | All Participants (%)
Ferning is absent | 9 | 99.9

## Slide 17: CMMP-31
Yeast/fungi are absent

## Slide 18: Yeast/fungi are absent
Response | Quest | All Participants (%)
Yeast/fungi are absent | 34 | 84.8
Yeast/fungi are present | 8 |