## Slide 1: Critique of the CAP FH-A Proficiency Photomicrographs
Presented by:
Lawrence Tsao, MD
Medical Director, East
4/6/2016

## Slide 2: Case presentation (01-06)
This peripheral blood smear is from a 64-year-old man without significant past medical history who presents for his annual routine physical with loss of appetite.
Laboratory data include: WBC = 247.6 x 109/L; RBC = 4.23 x 1012/L; HGB = 14.8 g/dL; HCT = 42.2%; MCV = 100 fL; RDW = 16%; and PLT = 111 x 109/L.

## Slide 3: BCP-01
Erythrocyte, normal

## Slide 4: Erythrocyte, normal
Response | Quest | All Participants (%)
Erythrocyte, normal | 153 | 92.8
Microcyte (with increased central pallor) |  | 4.7

## Slide 5: Central pallor
Central pallor = 1/3 diameter of cell

## Slide 6: BCP-02
Basket cell/smudge cell

## Slide 7: Basket cell/smudge cell
Response | Quest | All Participants (%)
Basket cell/smudge cell | 143 | 88.4
Platelet, giant |  | 7.7
Megakaryocytic cell |  | 0.9

## Slide 8: BCP-03
Monocyte

## Slide 9: Monocyte
Response | Quest | All Participants (%)
Monocyte | 136 | 87.3
Monocyte, immature (promonocyte, monoblast) |  | 4.0
Neutrophil, myelocyte |  | 0.6
Malignant lymphoid cell (other than blast) |  | 1.3
Neutrophil, metamyelocyte |  | 2.3

## Slide 10: Myeloid maturation
Maturation
Blast
Promyelocyte
Myelocyte
Metamyelocyte
Band
Segmented

## Slide 11: Monocytes
Monocyte, immature
Monocyte

## Slide 12: BCP-04
Eosinophil, any stage

## Slide 13: Eosinophil
Response | Quest | All Participants (%)
Eosinophil | 155 | 99.8

## Slide 14: BCP-05
Malignant lymphoid cell (other than blast)
Lymphocyte

## Slide 15: Malignant lymphoid cell (other than blast)
Response | Quest | All Participants (%)
Lymphocyte | 153 | 90.5
Malignant lymphoid cell (other than blasts) |  | 4.8
Lymphocyte, large granular |  | 1.8