This procedure is electronically produced, revised, monitored, reviewed and/or retired. For a full document history of initiation, revisions, and reviews with electronic signatures and dates, please open document in the procedure publishing software.

1.PURPOSE:

New Vision Medical Laboratories has established a list of acceptance/rejection criteria for laboratory specimens to ensure the specimen’s integrity and test result accuracy. This policy defines the criteria in which a specimen would be found unacceptable for processing and qualify for the rejection of the sample.

2. CLINICAL SIGNIFICANCE:

Specimens submitted to Laboratory for testing that may be unacceptable for testing.

6. PROCEDURE: A. Rejection:

The following lists the criteria used to determine if a specimen is unacceptable for testing. - Unlabeled: Specimen received unlabeled. - Mislabeled: Specimen mislabeled or mismatch of requisition and specimen containers. Specimen does not contain a minimum of two patient identifiers. - Hemolyzed: If hemolysis is present and will interfere with the accuracy of results, request that the specimen be recollected if at all possible. - Clotted: Anticoagulated specimens must be free of clots. - QNS: Specimen quantity not sufficient. - Age of Specimen: Time / storage between collection and analysis exceeds standards in manual. A specimen may not be tested once its stability limit has expired. - Wrong Container: Specimen collected in incorrect collection container/tube. - Incorrect Processing: Specimen not processed per testing requirements (unspun, thawed, frozen etc) - No Specimen: No specimen received. - Wrong Test: Incorrect test ordered. - Leaked: Specimen leaked in transit. - Broken: Broken container/tube. - Accident: Lab accident. - Contaminated: Specimen or specimen container contaminated, unsuitable for testing. - Sputum: Unsuitable sputum collection. - History: Results inconsistent with previous lab results. Confirmation required with separate collection. - Formed Stool: Formed stool obtained for C Diff testing is not consistent with suspected diagnosis.

B. Notification of Rejection:

- For Inpatient/ED setting: - The patient’s primary nurse or charge nurse or referring laboratory submitting specimen is notified that the specimen is rejected and this information is documented in the REJCT test in the LIS by selecting the appropriate reason. Enter a Yes in the RCALL box then backslash to freetext information regarding who you spoke to and if they requested a recollect. A new test request must be placed after confirming the physician or nurse wants the sample recollected. The new test will be placed by laboratory staff as STAT or Timed with a canned message in the specimen comment noting order is a recollect. Do not print labels so that order will show up on phlebotomy scanner. - If more than one reason for recollect or a separate recollect occurs at a later time you will need to order a new REJCT on a new order number and note original order number in the order comments for lookback purposes. - For Ambulatory/Outpatient/Outreach setting: - Notify the location of the rejection and document in the REJCT test in the LIS. - Outside of office hours, recollection will be coordinated the next business day. Cancel original test and order the REJCT and document what information you have. Complete the Lab Issue form and place in the Orange folder in the file box for follow up the next business day. - Store specimen in manner and time appropriate for requested testing. If missing information on the sample run the test and hold results with the sample and results for follow up. If you need clarification for an order hold sample at appropriate temperature for possible testing. Complete the Lab Issue form and place in the Orange folder in the file box for follow up the next business day. Be sure to note where you have placed the sample on the form. - Notifications and actions are documented in the laboratory information system (LIS) within the REJCT test. Information can be reviewed by pulling the individual REJCT order or by using resulting worklist by test REJCT. You will need to select comment when viewing the message entered at the RCALL. - Rejected specimen order will be used for the purpose of tracking in the LIS. - Exceptions: In cases when the specimen is less common, involves an invasive procedure, or cannot be recollected, an exception to specimen rejection may be necessary. An exception must be approved by the On Call Pathologist.