# After opening, mark the shortened expiration date **on** the item

|  |  |
| --- | --- |
| XN Check | 7 days |
| XN Check BF | 30 days |
| PFA test pouches | 30 days |
| CellChex (Hemacytometer QC) | 30 days |
| Sickle Screen QC | Stable to printed expiration date |

# Sysmex QC should sit at room temperature for 15 prior to analysis. Follow instructions below **after** vials equilibrated to room temperature.