## Sheet1
Test Name | Reference lab | ARUP whopper/ARUP Connect? | Test code | Notes
Adrenocorticotropic Hormone (ACTH) Stimulation Test | ARUP | ARUP connect | 0 min - 70031 30 min - 70032 60 min - 70033 | Coordinate with Pharmacy for administration of Cortrosyn. Refer to ARUP test formulary for age-specific dosage, under Go To ARUP Consult - Adrenal Insufficiency - Laboratory Testing - Initial Diagnostic Testing - ACTH Stimulation Testing. Timed Cortisol levels: 0 min (Fasting), 30 min, and 60 min. and sent to ARUP with individual test codes. TECHS: Order ONE MISC test - use to report all three levels. Enter a reportable Order Comment stating the draw time for each cortisol level.
Alzheimer Disease Evaluation, Spinal Fluid | ARUP | ARUP Connect - Forward to Mayo Clinic | 97102 - Misc Refrigerated | Ordered by Neurology dept./Dr. Alexander. Test formulary can be found at end of this quick guide - make copy as needed. Requires special collection tube/kit. We order kit directly from Mayo Clinic (1-800-533-1710) under ARUP's account # 7011295. Order two kits - one for JIC. MUST follow special collection instructions in kit! Notify Medical Imaging prior to LP procedure regarding Alzheimer's CSF testing. Provide Medical Imaging with two special collection tubes (one for JIC). First 2ml is considered 'discard'. Collect next 2ml CSF directly into AD Biomarker Tube using drip method. Do not aliquot. Min. volume 2 ml. Ambient stability: 12 hours. Refrigerated stability: 2 weeks. Transport refrigerated. Use Refrigerated test code 97102 in ARUP Connect. Free text the test name, test code (ADEVL), and testing lab (Forward to Mayo) in comments.
Amniotic fluid analysis (Aminostat-FLM) | NVML-Lima | N/A | Misc.Req | 2 ml min. amniotic fluid. Protect from light. Do not centrifuge sample. Use hospital courier. Notify New vision lab.
Antidiuretic Hormone | ARUP | Whopper | NA | Arginine Vasopressin Hormone # 70027
APT test (fetal hemoglobin) | NVML-Lima | N/A | Misc. Req | 0.5ml emesis, gastric or stool specimen (freshest specimen is best). Unacceptable: brown or black specimens. Notify New Visions. Stability: 24 hrs refrigerated.
ARUP MISC (test sent through ARUP to another reference lab) | ARUP | ARUP connect |  | Ambient test code: 97101; Refrigerated test code: 97102; Frozen test code: 97103, free text the test name and testing lab in comments. For use if unable to process as a "whopper"
Beta-2 Glycoprotein I Ab. | ARUP | Whopper | 50321
B. Pertussis, PCR (children only <18 yrs) | Compunet | N/A | 74258 | Adult B.Pertussis is orderable in the LIS. Compunet designed for pediatric patients only. Complete compunet requisition. Call for pickup 937-297-8262
BRAC analysis (hereditary screening) | ARUP | whopper | 2011949 | 3.0 ml EDTA whole blood, refrigerated, see on-line directory for patient history form submission
Clinitest (Reducing substances, urine) | Mercer Health Coldwater | N/A | Misc. Req | Arrange for JTD courier to take specimen to Coldwater. MISC requisition
Drug Screen, Urine, (Non-Occ Health, legally defensible) | Med Tox | N/A | N/A | See policy REF-308, Required C.O.C.
Enterovirus, PCR | CompuNet | N/A | 15082 | Compunet designed for pediatric patients only. Complete compunet requisition. Call for pickup 937-297-8262
Eosinophils, Smear, Nasal (Urine Eosinophil is LIS orderable) | NVML-Lima | N/A | Misc. Req | ** Nasal swab - prepare a nasal smear - Do NOT stain the slide! Send prepared unstained slide to NVL-Lima; Prepared slide stability: Room temp-24 hrs, Frozen-Indefinitely
free/total testosterone-pooled | ARUP | N/A |  | 3 specimens drawn 15min apart. (unless otherwise indicated per order). Add order comment "pooled specimen" with draw times listed. Send equal parts of each sample as one specimen to ARUP. Venipuncture charge test should be ordered for 2nd and subsequent specimens drawn with suppressed order comment indicated specimen number.
Growth Hormone Stimulation | ARUP | N/A | see on-line directory | Consult Pathologist
H. pylori IgG and/or Igm | N/A | N/A | N/A | ARUP no longer offers these tests, nor do they refer them to another lab. Testing of choice is H. pylori, Stool or H. pylori Breath Test. Order a TNP for H.pylori IgG/IgM. (If the provider's order does not include an order for the stool or breath test, then call the office to see if want one of these tests performed instead.)
Heavy Metals Screen | ARUP | Blood: ARUP/whopper Urine (Reflex): ARUP/Connect | Blood: 0020584 Urine: 0020572 | IF order simply states "Heavy Metals Screen", default to ordering Heavy Metal Panel 4 Blood. IF order indicates specimen type, but does NOT specify which individual heavy metals tests to run, then default to ordering one of these (choose applicable specimen).
Hemoglobin S (Sickle cell screening) | ARUP | ARUP connect due to possible reflex test | 50520
HSV by PCR (neonates only <30 days) | Compunet | N/A | 73562 | Adult HSV is orderable in the LIS. Compunet designed for neonate patients only. Complete compunet requisition. Call for pickup 937-297-8262. Transport container: NON-CSF specimens in VTM media; CSF specimens in sterile container. Transport: Refrigerated.
Hypercoagulability reflex panel | ARUP | ARUP connect and LIS orderable | N/A | Order 1st tier testing: LUPUS , F8C, HOMOC, PTNM, and Misc.test- APC resistance with reflex to factor V (code 30192)
Hypersensitivity Pneumonitis Panel | ARUP | whopper | 3000477 | Only if Farmer's Lung Panel is specified, then order Hypersensitivity Pneumonitis Extended Panel (ARUP# 0050157)
Immunoelectrophoresis - CSF | ARUP | LIS orderable | N/A | Do both when CSF Immunoelectrophoresis is requested: Protein Electrophoresis, CSF (CFPEP) and Immunoglobulins, Quant CSF (IMQCF)
JC Virus Ab by ELISA, Serum with Reflex to Inhibition Assay QUANTITATIVE (GL Neurology) | ARUP | ARUP connect | 3006254 | Primarily requested by GL Neurology. Can be ordered by any neurologist. NOTE: For Qualitative JCV testing, refer to JC Virus by PCR; ARUP# 0099169.
Kit Testing | VARIES with each kit | N/A | N/A | Performed on a case-by-case basis. Consult with lab manager, if available, prior to proceeding. If not available, kit testing is done at the discretion of the technical staff. Refer to policy REF-307.
Laxative Panel, urine qualitative | ARUP | whopper | 2499U (NMS test code) | Enter "NMS" into whopper test code prompt. Manifest and batch separate. Write test code, test name, and testing lab (NMS) on Manifest. TAT 3-6 days. Minimum vol: 1.2ml urine refrigerated. Transport refrigerated in plastic ARUP tube. CPT80376
Leukemia/lymphoma phenotyping by Flow cytometry | ARUP | Whopper | 3001780 | Bone marrow, whole blood, fluid, or tissue in culture media. Should be received by ARUP within 24hrs of collection. Refer to ARUP test directory.
Miscellaneous allergens | ARUP | ARUP connect |  | Do not order as whoppers. Preferred allergen testing is IgE. Thus, if IgG is order in the LIS, a tech should review provider's order.
Monoclonal Protein Study, Serum | ARUP | LIS orderable (varies) | N/A | For GLPP Providers: This is our MPEP (i.e. SPEP2/IFEQL combo). If provider orders Protein Electrophoresis and Immunofixation separately, then order needs changed to MPEP. Do not order individual tests! For Non-GLPP Providers: Clarify testing, i.e., Which of the following does it include: SPEP2 and IFEQL combo (MPEP)?, IgG IgA, IgM (QNTIG)?, Kappa lambda free light chains (KLFLC)?
NMO Antibody (GL Neurology) | ARUP | ARUP connect | 2013327 | For Dr. Natasha Alexander, order as: Aquaporin-4 Receptor Ab by ELISA with Reflex to Aquaporin-4 Receptor Ab, TgG by IFA.
Parasite Exam, Macrosopic | ARUP | whopper | 2007361 | Submit Macroscopic parasite (larvae, worm, anthropod, insect, tick) or Skin scrapings (if scabies suspected). Place in 70-80 percent ethanol (or other alcohol) in a clean container - see Formulary.
pH, Fecal | ARUP | whopper | 20518 | 5 g unpreserved stool (min. 1 g); frozen
Prometheus kits |  |  |  | Kits kept in storeroom. Ordered directly from Prometheus (2 at a time). Refer to policy REF-307.
PTH related pepetide | ARUP | whopper | 93014 | Protease Inhibition: special draw instructions - see online test directory
Pyruvic Acid test | ARUP | whopper | Blood- 80310 CSF- 80312 | Pyruvic acid transport tube in reference refrigerator
Sickle Cell Screening |  |  |  | Refer to 'Hemoglobin S' in this Quick Guide
Specific gravity, body fluid | ARUP | whopper | 20508 | Not viewable on-line, but still available. 2 ml min. Stability F=6 mo,R=24hrs, A=4hrs.Send FROZEN, If RBC's present, send refrigerated, include source information.
VonWillebrand Panel or VonWillebrand 3 Panel | ARUP | LIS orderable | N/A | Order 3 test: Factor 8 activity (F8C), Vonwillebrand factor (RCF), and Vonwillebrand factor antigen (VWAG)