| Saratoga Hospital Laboratory 211 Church Street, Saratoga Springs, NY 12866 | Saratoga Hematology-Oncology Laboratory 3 Care Lane, Saratoga Springs, NY 12866 | Saratoga Hospital Lab-Wilton 3040 Route 50 North Saratoga Springs, NY 12866 |
| --- | --- | --- |

Site Batch Routine for Receiving and Transporting Specimens

Principle:

The purpose of this procedure is to standardize the order receipt, transport and distribution of specimens to the Saratoga Hospital Main Laboratory using the Site Batch routine in Meditech.

Scope:

This procedure applies to all employees involved in the ordering, receiving, processing or distribution of samples within the laboratory system.

Specimen:

This procedure applies to all specimen types ordered and within received the laboratory system excluding pathology specimens.

Materials:

- Specimen requisitions

- Meditech terminal with scanner, Barcode label printer

- Sample racks and bins

- Refrigerator

- Office supplies, not limited to, but including telephone, clock, pens, markers, labels and electronic manifest.

Quality Control:

Unreceived specimens reports will be reviewed and resolved by technologists on each shift.

Procedure:

Departure from the Satellite lab

- Patient script, requisition or other physician order is received from patient.

- All lab requests are checked for completeness.

- Patient requisitions are registered in the Admitting/Registration module.

- Laboratory Tests are ordered using the Requisitions routine in the in the Lab module.

- All Laboratory tests regardless of where they are performed are entered into a single accession.

- Specimens are collected by the phlebotomist.

- Receive all specimens using the Receive by Specimen menu of the LIS Specimen Collection routine. The accessioning/receiving staff must enter:

- The correct collection time

- The initials of the collector (LAB. initials, UC. initials (Urgent Care), patient’s name or initials for SDO).

- The time stamped on the label set or requisition as received time.

- Enter “Y” yes at the Receive? prompt.

- Specimen labels are separated according to where they will be processed.

- Specimens are centrifuged, transferred into aliquot tubes and/or and placed into the proper storage area; room temp, refrigerated, frozen. Specimens will be organized in the order printed on the electronic manifest.

- Reference Lab Transport:

- Collect all specimen labels for the specimens for transfer.

- Verify each specimen for each label.

- Input each accession in the site batch routine:

- Meditech: 10 Laboratory <enter>

- 34 Specimen site <enter>

- 11 Enter/edit <enter>

- Batch Date, < T >oday

- Batch Number, enter “N”ew (Meditech will assign a Batch number)

- From Site: HCP<enter>

- To Site: Reference Lab(ML) <enter>

- Scan specimen numbers into the specimen column

- Enter to move to comments: “Y”es or “N”o <enter>.

- Batch Status: “S”ent <enter>.

- Select printer to obtain the specimen Manifest of the specific batch.

- Reconcile the Manifest against the specimens. If a specimen does not appear on the manifest or a specimen is missing; the issue must be resolved before the batch is sent to the destination.

- All specimens are placed in a transport cooler. A copy of the manifest is included.

Arrival in the Main Lab

Any samples with Meditech specimen numbers that have been placed in a collection category will be labeled with bar-coded labels at the collecting site. To receive specimens

- Meditech: 10 Laboratory <enter>

- 34 Specimen Site

- 14 Receive Specimens

- Batch Date: “T”oday

- Enter Batch number; as the number is inputted, the remainder of the fields will populate <enter>

  - Repeat verification of the specimens on the manifest agree with the specimens in the cooler

- Verify the receipt of the Specimens: “Y”es / “N”o <enter>

  - For specimens on the manifest but not in the rack; delete the specimen from the list and call originating site

- Separate samples and labels for distribution to the appropriate laboratory section

- Sign the batch report

- Place the batch report in the file folder

Procedural Notes:

- Accessioning responsibility:

- Contact the requesting lab location to resolve any questions or issues and to resolve all issues in the notebook within 24 hrs or to notify the supervisor. If resolution is not possible during a given shift then the accessioning person must note in the Communication Log Notebook/Binder. All notes must be signed and dated.

- Verify the name on the specimen label matches the name on the requisition/manifest.

- Any problems or discrepancies should be documented in the specimen comment section of the Order/Entry screen.

- Distribution to each laboratory section includes placing the samples into each appropriate bin.

| Date of Origin: | 04/26/13 |  | Prepared By: |  |  | Philip Weisman |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Revised: | 06/28/13 |  | By: |  |  | Teri Baldwin |  |  |  |  |
| Date Placed in Service: |  |  |  |  |  |  |  |  |  |  |
| Approved by: |  |  |  |  |  |  |  |  |  |  |
|  | Phlebotomy Supervisor Teri Baldwin |  |  | Date |  |  | Laboratory Medical Director, Main Lab & WMA William E. Field II, MD |  |  | Date |
|  | Wilton Medical Arts Lab Supervisor Rhea Jamro |  |  | Date |  |  | Laboratory Medical Director, SHOL Nicole Durie, MD |  |  | Date |