Saratoga Hospital Laboratory

211 Church Street, Saratoga Springs, NY 12866

**Off Shift Nova StatStrip Glucometer Replacement Procedure**

**Purpose:**

To provide phlebotomy staff with instruction on how to replace a problematic meter with a functional back-up meter in the event that Point of Care staff is not available to do so.

**Scope:**

This procedure applies to all phlebotomy staff members working in The Saratoga Hospital Laboratory.

**Glucometer Replacement Procedure:**

1. If a patient care department makes a request for a loaner meter, attempt to contact a Point of Care staff member by calling extension **5954.**
2. If a Point of Care staff member is not available to provide assistance, inform the patient care unit that a loaner meter will be delivered to them.
3. Acquire a docked glucometer labeled ‘LOANER METER’ from the ED Lab Room. Ensure the meter is charged by powering it on and looking for the battery icon.



1. Take the Loaner Meter and the clipboard containing **Attachment 1:** **Off Shift Glucometer Replacement Log** to the requesting patient care department. Acquire the name of the person who is accepting the meter. Document accepting staff member’s name, your name, the serial number of the problem meter, the serial number of the replacement meter, the date and time on **Attachment 1:** **Off Shift Glucometer Replacement Log** located near the Loaner Meter in the ED Lab.
	1. The meter serial number is located at the bottom of the informational sticker on the back of the meter. It will begin with “179- # # # # -15017”.



1. Take the problem meter and the Off Shift Glucometer Replacement log back to the ED Lab Room. Dock the meter and leave the log for Point of Care Staff.

**References:**

Nova StatStrip Glucose Meter Instructions for Use Manual, Nova Biomedical, 2014.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Date of Origin: | 04/10/15 |  | Prepared By: | Harvey Hveem |
| **Date Placed in Service:** |  |  |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Approved by: |  |  |  |  |  |  |  |
|  | Phlebotomy SupervisorTeri Baldwin |  | Date |  | Saratoga Hospital Laboratory Medical DirectorWilliam E. Field II, MD  |  | Date |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  | Laboratory Administrative DirectorRichard Vandell |  | Date |  |  |  |  |

Saratoga Hospital Laboratory

211 Church Street, Saratoga Springs, NY 12866

**Attachment 1: Off Shift Glucometer Replacement Log**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Phlebotomist Replacing Meter** | **Staff Member Accepting Replacement Meter** | **Serial Number of Problem Meter** | **Serial Number of Replacement Meter** | **Date** | **Time** |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |