Clinical Microscopy

2015 CMP-A (Body Fluids)

This image was identified incorrectly on the CAP Proficiency Survey CMP-A.  Many called this image a Nucleated Red Blood Cell.  The cell identified by the arrow, however, is actually a neutrophil.  It is a degenerating neutrophil.  Note the pinkish granules located in the cytoplasm to help identify this particular cell.  Also, remember that the sample is a body fluid, so seeing an NRBC would be an extremely rare event, especially with no other normal RBC’s around as well.