MAS Control Result Entry for Refractometer

1. Log on to Sunquest
2. Select Result Entry
3. Select Manual
4. Enter Worksheet ARURIN
5. Remove ALL tests
6. Select USPG
7. Select RESULT
8. Enter the control code C-USG1 or C-USG2
   1. MAS1 = C-USG1
   2. MAS2 = C-USG2
9. Enter the results for specific gravity for each control code
10. Save and Accept each entry