## Sheet1
Previ Color V2 Preventative Maintenance Checklist
MICRO-633.1-CH Cone Health Alamance Regional | [10 empty] | Month | ________________ | [5 empty] | Year | ________________
Day of Month |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Previ Colorgam
Check Reagent levels | D
Perform Pattern Test | D
Shutdown-Autoclean, after last cycle | D
Clean bowl, after last cycle | D
Clean interior lid, after last cycle | D
Clean nozzles, after last cycle | D
Clean exterior, after last cycle | D
Perform Volume Test | W
Nozzel A 10-12 ML
Nozzel B 9-11 ML
Nozzel C 9-11 ML
Nozzel DF 9-11 ML
Nozzel DR 9-11 ML
Nozzel E 9-11 ML
Clean Carousel Tray 70% ETOH | W
Flush Waste Tubing 70% ETOH | W
B-Line Flush | M
Disasemble, clean all nozzles | M
Clean Dip Tubes | M
Disinfect Reagent D Bottle | M
Prime Reagent Lines
Perform Hub Pattern Test
Perform Volume Test
Replace Nozzle | R
|  |  | M - Monthly |  |  |  |  | W - Weekly |  |  |  |  | D - Daily |  |  |  | R - As Required
Review:________________________________________________ |  | ________________ 14: Monthly is due the 2nd Saturday of each month.
Weekly is due by Wednesday of each week.