## Slide 1: Processing Refresher

## Slide 2: Special requirements for Lactic Acid (LA) specimens:
Collected and received on ice.
Must be spun within 15 minutes of collection time.
Take to chemistry ASAP and notify tech of delivery.
If no orders, separate from cells immediately. Create a “save tube”. Place in ice block.
Stability – room temperature for up to 8 hours IF plasma is removed from cells.
Check for orders every few minutes.
Call RN if there are no orders within 10-15 minutes.

## Slide 3: Requirements for ammonia:
Collected and received on ice.
Spin immediately.
Must run within 30 minutes of collection.

## Slide 4: AT3 processing:
Spin in cold centrifuge.
Separate from cells immediately and FREEZE.
Be sure to leave a note for the courier “Specimen for MC in Freezer”.

## Slide 5: PFA collection and processing:
DO NOT spin.
Must have 2 tubes.
Call a courier to deliver to Annie Penn ASAP.
PFA is a screening test for platelet disfunction. Therefore, a PFA can not be collected with a butterfly. A 21-guage needle or larger must be used. Butterflies and small needles can cause platelets to activate and cause inaccurate results.

## Slide 6: Wet prep processing:
Deliver to department upon receipt.
Specimen integrity is compromised after twenty (20) minutes.
Testing must be performed within 45 minutes of collection time.

## Slide 7: CSF
CSF with culture orders MUST have a Gram stain performed STAT.
FLDCSF (CSF culture) has a Gram stain INCLUDED with the order. There does NOT need to be a separate order.
Process immediately. CSF Gram stain has a 1-hour turnaround time.

## Slide 8: How do we handle specimens without orders?
Check for orders every couple of minutes.
Spin tubes, if required.
If there are no orders placed within 15 – 20 minutes, call RN.

## Slide 9: What if we do not receive all tubes necessary for tests ordered?
Example: We received a lavender and light green top. The provider has ordered a CBC, BMP, and PT. What should we do?
DO:
Receive CBC and BMP.
Reschedule the PT. This can be done in a couple ways.
1. Use the rescheduling function in Sunquest.
2. Credit and reorder using the Order Entry function.
Notify RN of additional tubes needed.
Do NOT:
Wait for the RN to send all necessary tubes. This will delay patient care.

## Slide 10: Did you know:
ESRs are stable for 4 hours?
An A1C cannot be added to a BNP?