#### Reviewing Transfusion Service QC and Creating a Monthly QA Summary

| ##### Purpose | In order to provide the Transfusion Service Medical Director with a concise report of the status of the Transfusion Service for his/her review, QC and important related events are presented in a summary format. |
| --- | --- |

| ##### Policy | - The individual QC data is reviewed on a monthly basis by the Transfusion Service coordinator/Supervisor. Subsequent to that review, a monthly summary of the findings is created - The Summary is reviewed by the Laboratory Manager and Transfusion Service Medical Director. - The individual QC data is submitted along with the Summary to the Transfusion Service Medical Director for his/her review. |
| --- | --- |

| ##### Procedure |  |
| --- | --- |

| Step | Action |  |  |  |
| --- | --- | --- | --- | --- |
| 1. | Each of the following logs is reviewed monthly by the Transfusion Service Coordinator/Supervisor or their designee for QC accuracy and conformance to procedure reporting format. - Antigen Typing worksheets - Downtime Blood Issue Logs - IVC Blood Product Storage Logs - Cellwasher/Centrifuge Maintenance - ECHO Maintenance Record & QC - CSW Maintenance - Transfusion Service Daily Reagent QC Logs - KB Stain report - Lot to lot comparison of Fetal Screen kits - Device Temperature Recording charts - Daily Temperature Logs - Uncrossmatched Forms - Antibody Titer - Reports of Patient History Discrepancies - Safe-T-Vue Indicator QC Logs - Quarterly Alarm Check Summaries - Blood Warmer Check review - Centrifuge Timer & RPM checks - Scheduled equipment maintenance - Centrifuge calibrations - Instrument/Method Correlations - Thermometer calibration |  |  |  |
| 2. | - Stamped each set of forms with a Data Review stamp and initial/date. |  |  |  |
| 3. | Open up electronic form located J:/Blood Bank/Reports/Blank QC to create a QA Summary. |  |  |  |
| 4. | Complete date entries to reflect data to be reported. |  |  |  |
| 5. | Summarize findings under corresponding observation and complete corrective action/explanation as needed in the appropriate column. |  |  |  |
| 6. | Summarize the following issues on the form - Equipment issues - Supplier Issues - Error Classification Statistics - Interdepartmental Transfusion Related Problems - Unnecessary Repeat Testing - Blood Component Wastage Statistics |  |  |  |
| 7. | Add additional items, as identified as problematic, intermittently to the report. |  |  |  |
| 8. | Create graphs of internal incidents and interdepartmental problems to track and trend events that recur. |  |  |  |
| 9. | Submit the summary form, along with supporting documentation, to the Transfusion Service Medical Director for review. |  |  |  |
| 10. | The Medical Director will make notes comments or suggestions for additional action as needed and initial/date the information summary. |  |  |  |
| 11. | Refer the summary to the Laboratory Administrative Director for their review. |  |  |  |
| 12. | Return the completed summary and associated documents to the Transfusion Service Coordinator. |  |  |  |
| 13. | Checks for follow-up recommendations from Medical Director or Laboratory Administrative Director. |  |  |  |
|  |  | If: | Then: |  |
|  |  | No recommendations that need further action | - File summary in LAB QA binder under Transfusion Service section. - File QC/worksheets in appropriate folder for QA storage. |  |
|  |  | Recommendations that require follow-up are noted | - Make list of required follow-up actions - File summary in LAB QA binder under Transfusion Service section. - File QC/worksheets in appropriate folder for QA storage. |  |

| ##### Attachment | Blank QC document |
| --- | --- |

| ##### Related Documents | - Daily Supervisory Review Procedure TS.POST 07.02-RV |
| --- | --- |