#### Performing a Rh Blood Type by Tube Method

| ##### Purpose | This procedure describes how to perform an Rh blood type. |
| --- | --- |

| ##### Policy | An Rh Type and ABO group must be performed on each crossmatch specimen, on each admission when FFP is requested and on all patients without a historical blood type when requests for other components are requested. Weak D (Du) testing must be performed on all patients with negative D results in the following situations: - Cord Blood/Neonate <7 days old - Fetal Bleed evaluation - Allogeneic BMT (Bone Marrow Transplant) recipient/donor - Resolution of patient or unit Rh discrepancy |
| --- | --- |

| ##### Equipment/ Reagents/ Supplies |  |
| --- | --- |

| Equipment | Reagents | Supplies |
| --- | --- | --- |
| - Centrifuge - Agglutination viewer | - Anti D - ABO+Rh Control | - Test tubes - Test tube rack - Disposable pipettes |

| ##### Specimen Requirements | - Adults: One (1) 10 ml EDTA stoppered tube (preferred) or red stoppered tube without separator gel- minimum of 3ml. - Infants: Two EDTA microtainers or 1.0 ml EDTA or red stoppered tube without separator gel - Donor red blood cells |
| --- | --- |

| ##### Quality Control | Daily Reagent Quality Control |
| --- | --- |

| ##### Procedure: Rh Typing | Follow the steps below to perform Rh typing: |
| --- | --- |

| Step | Action |
| --- | --- |
|  | Label one test tube for Anti-D with patient and reagent identifiers. |
|  | Add one (1) drop of Anti-D in the appropriately labeled test tube. |
|  | Prepare a 3-5% patient cell suspension. |
|  | Add one (1) drop of the cell suspension to the tube containing the Anti-D and mix gently. |
|  | Centrifuge. |
|  | Gently resuspend the cell button and examine macroscopically for agglutination. |
|  | Grade and immediately record the result. |
|  | Save tube for use in Weak D (Du) testing, if indicated. (See policy) |
|  | If ABO type is type AB, perform an Rh control. Repeat steps 3 and 4 above substituting Anti-D with Monoclonal Control. |

| ##### Interpreting Results | Follow the steps in the table to interpret the Rh test. |
| --- | --- |

| If | Then |
| --- | --- |
| Cells agglutinate and/or are hemolyzed | Positive reaction |
| Cells do not agglutinate/and or no hemolysis is present | Negative reaction |

| If: |  | Then |
| --- | --- | --- |
| Anti D | D Control |  |
| > 2+ | 0 or ND | Report |
| 1-2+ | 0 or ND | Check microscopically for mixed field agglutination If present, result as “mf” and free text a BBCNC comment with grade of reactivity |
| < 1+ | 0 or ND | See policy regarding Weak D testing |
| + or 0 | + | Invalid test |

| ##### Procedure: Current results vs. historical or confirmation | Follow the steps below to compare current Rh type to historical/confirmation results: |
| --- | --- |

| Step | Action |  |
| --- | --- | --- |
| 1. | Compare current Rh type result to previous/confirmation. |  |
| 2. | If: | Then: |
|  | Current Rh result matches previous/confirmation Rh type | Report results |
|  | Current Rh type on automated analyzer is negative and previous/confirmation tube type was positive | - Perform Weak D (Du) testing - If Weak D test is positive, report Rh type using ETC RHDU - Override QA flag using REDUP - Complete Investigation of History Discrepancy Form and correct BAD file, as needed. - Add PB comment ABO1 - Transfuse Rh Negative units |
|  | Current Rh type on automated analyzer is positive and confirmation tube type was negative | - Continue tube confirmation through Weak D (Du) testing - If Weak D is positive, report as Rh Pos - Override QA flag using REDUP - If Weak D is negative, proceed to Resolving History Discrepancy flowsheet |
|  | Other situations where Current Rh type does not match previous Rh result | Investigate using Attachment A: Resolving History Discrepancies-Rh flowsheet |

| ##### Reporting Results | Enter results and Interpretation directly in LIS testing grid. mf=Mixed Field NA= Not applicable ND= Not done NR= Not required INCL= Inconclusive |
| --- | --- |

| D | DC | Weak D | Report Interp |
| --- | --- | --- | --- |
| 1-4+ | 0 | NA | P |
| mf | 0 | NA | See table below for Interpretation |
| 0 | 0 | >1+ | P |
| 0 | 0 | NR | N |
| 1-4+ | 1-4+ | NA | INVAL |
| 0 | 0 or ND | INCL | INVAL |

| If: | Then: |
| --- | --- |
| Rh resulted as INVAL | Insert BBC Result with ETC Code, RHIN (Unable to determine Rh due to positive DAT) |
| Mixed field agglutination is present | - Consideration should be given to discrepancies resulting from circulating mixed cell types - If no history of Rh Type prior to non-identical type RBC transfusion, Rh Type cannot be reported. - Transfuse Rh Negative units until Rh type can be determined |
| Female patient <50 years old tests as D Negative | Insert BBC Add ETC Code, NOWKD (Weak D testing not performed) |

| ##### Related Procedures | - Performing ABO Blood Group - Performing Weak D (Du) Rh Type - Resolving Rh Discrepancies - Daily Reagent Quality Control Procedure - Resolving Patient History Discrepancies |
| --- | --- |

| ##### Reference | Manufacturer’s product insert Blood Grouping Reagent Anti-D and ABORh Control |
| --- | --- |