#### Locating, Reprinting, and Retransmitting sample data on the Sysmex XN Hematology analyzer

|  |  |
| --- | --- |
| Background | This procedure describes how to locate sample data in the Sysmex XN IPU, reprint to the graphic printer or retransmit to the Host Computer |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Procedure A | Follow the steps below to locate sample data:

|  |  |
| --- | --- |
| Step | Action |
| 1 | On IPU Main Menu, click Sample Explorer button |
| 2 | On the tool bar, click Find button |
| 3 | When “Find” screen displays, in sample number field, enter the sample number |
| 4 | Click Next or Previous button to locate sample data |
| 5 | Once blue highlight bar is on sample data, click close button |
|  |  |
|  | **If** | **Then** |  |
| Retransmit results to Host Computer | * Sample data selected using blue highlight bar
* At the tool bar, click Output
* Click Host computer
 |
| Reprint results to graphic printer | * Sample data selected using blue highlight bar
* At the tool bar, click Output
* Click report (GP)
 |
|  |

  |

|  |  |
| --- | --- |
| Reference | * Sysmex XN series Operator’s manual, March 2017
 |

 *End*