#### Manually Completing an Allocation Label form and Labeling a Blood Component for Transfusion

| ##### Purpose | The purpose of this procedure is to provide instructions for manually completing an allocation label form and labeling blood components for transfusion. |
| --- | --- |

| ##### Policy | - When the LIS is not able to generate an allocation label form, it will be created manually. - MLT and CLS trained in Transfusion Service may create manual allocation label forms and label products within the scope of their practice: MLT/CLS for non-RBC products, CLS only for RBC products.. - The allocation label must be initialed and attached by the MLT/CLS responsible for checking that the unit information on the allocation label corresponds to the unit the label is attached to. |
| --- | --- |

| ##### Equipment/ ##### Reagent/ ##### Supplies |  |
| --- | --- |

| Equipment | Reagents | Supplies |
| --- | --- | --- |
| Tach-it gun |  | Allocation label form Pen Blood Component |

| ##### Procedure: |  |
| --- | --- |

| Step | Action |  |  |  |
| --- | --- | --- | --- | --- |
| 1. | Locate a blank copy of the Downtime Allocation Label form template. |  |  |  |
| 2. | Remove component(s) from appropriate storage area. |  |  |  |
| 3. | Complete the patient and testing information in the appropriate spaces on the form and label. - Patient name - Medical Record number - Date of birth - Patient blood type - BB Armband number (if applicable) |  |  |  |
| 4. | Complete the unit information on the form. - Unit number - Component type, including division - Unit blood type - Expiration date of unit - Compatibility testing results.(if applicable) - Check the appropriate box(s) under Special requirements, if required - Complete PI comment with AKA information and antigen requirements (if applicable). Ex. Transfuse E, c negative products. |  |  |  |
| 5. | Review tag for completion and accuracy. |  |  |  |
| 6. |  |  |  |  |
|  |  | If: | Then: |  |
|  |  | Complete and accurate | Proceed to step 7. |  |
|  |  | Incomplete or incorrect | Complete or correct as appropriate. |  |
| 7. | Initial the label next to the BB armband number and make 2 photocopies of the completed form. |  |  |  |
| 8. |  |  |  |  |
|  |  | If: | Then: |  |
|  |  | Information on allocation label matches bag label | Fold 1 of the photocopies in thirds lengthwise. |  |
|  |  | Unit number on allocation label does not match bag label | Locate correct unit for the completed allocation form |  |
|  |  | Expiration date, blood type, component or special requirements on allocation form does not match bag label. | Do not label component for transfusion. Troubleshoot problem, fill out QAR as appropriate. |  |
|  | If there is no unobstructed space for allocation label on front of bag, apply allocation label to manila tag and attach tag to unit using Tach-it barb. |  |  |  |
| 9. | Holding the form horizontally fold the form in thirds, so that the patient/unit information is displayed. |  |  |  |
| 10. | Push the tag-It gun through all 3 layers of the form and through the plastic of the unit. |  |  |  |
| 10. | Repeat steps 3-9 until all units have been tagged. |  |  |  |
| 11. | Use table below to select appropriate storage device. Store labeled product in storage device until picked up for transfusion of released from allocation. Product; Storage. - RBC; - 1-6C, Allogeneic in Helmer Double door Refrigerator - Autologous and Designated in Helmer Single door Refrigerator. - Emergent units for MT Protocol support in the mobile storage device. - Thawed FFP - Thawed Plasma - Thawed Cryo Reduced Plasma; 1-6C, Helmer Double door Refrigerator. - Cryo, Cryo Pool; RT, counter. - Platelets; 20-24C, Platelet Incubator with continuous agitation. |

| ##### Attachments | A: Sample of Allocation Label form |  |
| --- | --- | --- |