## Performing an Acid Elution on Recipient Red Cells

| ##### Purpose: | To give direction in preparing acid eluate from IgG-coated red blood cells using the Gamma Elu-Kit in the following circumstances: - Identification of IgG antibodies coating red blood cells of a patient with a positive direct antiglobulin test. - Use in conjunction with adsorptions to demonstrate weak antigen expression on the adsorbing red cells. - In certain, special circumstances such as a transfusion reaction investigation, elution may be of use, even if the direct antiglobulin test is negative. |
| --- | --- |

| ##### Policy: | - This test will be performed in circumstances listed below and when directed by the section supervisor or medical director, or suggested by the blood center: - Pre-transfusion testing on a patient: who has been transfused within the last 4-6 weeks, has a positive antibody screen and direct antiglobulin test and whose strength of DAT has increased since the last Eluate was performed. - Post transfusion reaction specimen, including suspected delayed transfusion reactions, when the positive DAT is stronger than the pre-transfusion DAT. - When specifically ordered by the physician |
| --- | --- |

| ##### Definitions: | - Elution: a procedure for the recovery of antibody bound to red blood cells. - Eluate: the liquid preparation from the elution which contains concentrates of any antibody that was coating the red cells that is used for antibody identification. - DAT: direct antiglobulin test |
| --- | --- |

| ##### Equipment, Reagents, & Supplies: |  |
| --- | --- |

| Equipment | Reagents | Supplies |
| --- | --- | --- |
| - Centrifuge - Timer | - Gamma Elu-kit - 0.9% saline - anti-human globulin - IgG - Coombs Control Cells | - Test tubes - Test Tube rack - Disposable pipettes - Parafilm or plastic stoppers - Graduated Cylinder |

If wash solution is not already diluted, prepare as follows:

| Step | Action |
| --- | --- |
|  | Add one volume of concentrated wash solution to nine volumes of distilled water. Make at least 60 ml. |
|  | Place Reagent preparation label on the wash bottle with instructions to store at 1-8C. Expiration date is the same as the concentrate. Solution is good as long as it remains clear and does not cause hemolysis of rbc. |

| ##### Specimen Requirements: | One6-9-ml EDTA stoppered tube preferred. Refrigerate if not used immediately, preferable not longer than 3 days. |
| --- | --- |

| ##### Quality Control: | Test last wash against screening cells. |
| --- | --- |

| ##### Procedure: Eluate Preparation |  |
| --- | --- |

| Step | Action |
| --- | --- |
| 1. | Centrifuge the specimen and remove as much plasma as possible. |
| 2. | Transfer an aliquot of patient cells sufficient to yield 1 ml of cells after the entire wash process in a clean large test tube. Note: Smaller volume of cells may be used, but the volume of the resulting eluate will be correspondingly smaller. |
| 3. | Wash once with saline. |
| 4. | Wash four additional times with the Working Wash solution. |
| 5. | Reserve a small aliquot from the supernate from the last wash in a clean 12 x 75 test tube labeled with patient identifier and Last Wash. |
| 6. | Transfer 20 drops of the washed RBC cells from step 4 into a clean 12 x 75 glass test tube. More cells can be used if available. |
| 7. | Add a volume of Eluting solution equal to that of cells used in step 6. |
| 8. | Cover tube and mix GENTLY by inversion four times. |
| 9. | Immediately centrifuge for 60 seconds at high speed (normal setting). |
| 10. | Transfer supernatant (eluate) to a clean, labeled glass tube. Discard cells. |
| 11. | Add Buffering Solution, drop by drop to tube from step 10, until the blue color persists with mixing (pH 6.4-6.6). |

|  |  | 12 | Mix well and re-centrifuge. Transfer to a clean, labeled glass tube and proceed to testing. |  |
| --- | --- | --- | --- | --- |
| ##### Procedure: Testing the eluate |  |  |  |  |

| Step | Action |
| --- | --- |
| 1. | Label tubes for cells selected to be tested against patient eluate and 3 tubes for antibody screen to be performed with last wash. |
| 2. | Place one drop of cell to be tested to corresponding labeled test tube. |
| 3. | Wash once with 0.9% saline. |
| 4. | Decant, and blot to a dry button. |
| 5. | Add 2 drops of eluate to the dry button in each tube labeled for patient testing. |
| 6. | Add 2 drops of Last Wash solution to screening cells to be tested against the last wash. |
| 7. | Mix and incubate at 37C for 15-30 minutes. |
| 8. | Add 5-10 drops of Working Wash Solution to each tube. Mix, and centrifuge for 30 seconds. |
| 9. | Decant completely and blot. |
| 10. | Add 2 drops of anti-human globulin to each tube. |
| 11. | Mix and centrifuge. |
| 12. | Resuspend cells gently; read using lighted mirror, grade agglutination and record results. Note: Microscopic verification of negative results is not required. |
| 13. | Add Coombs control cells to all negative and weakly positive tubes. |
| 14. | Mix, centrifuge, and read for agglutination. Record results. |

| ##### Evaluating Results: |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | If: | Then: |  |
|  |  | - Last wash testing is positive | - Testing is invalid. Repeat elution step with new red cells. |  |
|  |  | - Last wash test results are negative and Coombs control on all negative cells is positive | - Testing is valid. Proceed to interpretation |  |
|  |  | - Coombs control cells are negative | - Testing is not valid. Repeat testing. |  |

Continued on next page

| ##### Interpretation: |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | If: | Then: |  |
|  |  | - Results are valid | - Any antibodies identified in the eluate may be assumed to have been eluted from the patient’s coated red cells. |  |
|  |  | - Suspected drug-related positive DAT (all cells are reactive) | - Consider referral for testing against red blood cells coated with appropriate drug, before concluding that no antibody has been eluted from the cells. |  |

| ##### Reporting Results |  |
| --- | --- |

| Step | Action |  |  |  |
| --- | --- | --- | --- | --- |
| 1. | Insert quick key e or test ELU into additional patient testing box |  |  |  |
| 2. | Answer test using table below |  |  |  |
|  |  | If: | Then: |  |
|  |  | Antibody(s) identified | Enter corresponding ETC code from the Antibody list in computer manual |  |
|  |  | All cells tested are positive of approximately equal strength | Enter dated free text comment, “Eluate demonstrated reactivity of equal strength with all cells tested, no detectable pattern |  |
|  |  | All cells tested are negative | Enter dated free text comment, “Eluate negative with all cells tested”. |  |

| ##### Related Documents: | - Choosing Selected Cells - Performing an Antibody Identification Panel |
| --- | --- |

| ##### References: | Gamma Elution Kit, package insert, latest edition |
| --- | --- |

End of Document