## Performing an Acid Elution on Recipient Red Cells

| ##### Purpose: | To give direction in preparing acid eluate from IgG-coated red blood cells using the Gamma Elu-Kit in the following circumstances: - Identification of IgG antibodies coating red blood cells of a patient with a positive direct antiglobulin test. - Use in conjunction with adsorptions to demonstrate weak antigen expression on the adsorbing red cells. - In certain, special circumstances such as a transfusion reaction investigation, elution may be of use, even if the direct antiglobulin test is negative. |
| --- | --- |

| ##### Policy: | - This test will be performed in circumstances listed below and when directed by the section supervisor or medical director, or suggested by the blood center by Day shift and PM shift BB trained CLS: - Pre-transfusion testing on a patient: who has been transfused within the last 4-6 weeks, has a positive antibody screen and direct antiglobulin test and whose strength of DAT has increased since the last Eluate was performed. - Post transfusion reaction specimen, including suspected delayed transfusion reactions, when the positive DAT is stronger than the pre-transfusion DAT. - When specifically ordered by the physician |
| --- | --- |

| ##### Definitions: | - Elution: a procedure for the recovery of antibody bound to red blood cells. - Eluate: the liquid preparation from the elution which contains concentrates of any antibody that was coating the red cells that is used for antibody identification. - DAT: direct antiglobulin test |
| --- | --- |

| ##### Equipment, ##### Reagents, & Supplies: |  |
| --- | --- |

| Equipment | Reagents | Supplies |
| --- | --- | --- |
| - Centrifuge - Timer | - Gamma Elu-kit - 0.9% saline - anti-human globulin - IgG - Coombs Control Cells | - Test tubes - Test Tube rack - Disposable pipettes - Parafilm or plastic stoppers - Graduated Cylinder - Master Lists |

If wash solution is not already diluted, prepare as follows:

| Step | Action |
| --- | --- |
|  | Add one volume of concentrated wash solution to nine volumes of distilled water. Make at least 60 ml. |
|  | Place Reagent preparation label on the wash bottle with instructions to store at 1-8C. Expiration date is the same as the concentrate. Solution is good as long as it remains clear and does not cause hemolysis of rbc. |

| ##### Specimen Requirements: | One6-9-ml EDTA stoppered tube preferred. Refrigerate if not used immediately, preferable not longer than 3 days. |
| --- | --- |

| ##### Quality Control: | Test last wash against screening cells. |
| --- | --- |

| ##### Procedure: Eluate Preparation |  |
| --- | --- |

| Step | Action |
| --- | --- |
| 1. | Centrifuge the specimen and remove as much plasma as possible. |
| 2. | Transfer an aliquot of patient cells sufficient to yield 1 ml of cells after the entire wash process in a clean large test tube. Note: Smaller volume of cells may be used, but the volume of the resulting eluate will be correspondingly smaller. |
| 3. | Wash once with saline. |
| 4. | Wash four additional times with the Working Wash solution. |
| 5. | Reserve a small aliquot from the supernate from the last wash in a clean 12 x 75 test tube labeled with patient identifier and Last Wash. |
| 6. | Transfer 20 drops of the washed RBC cells from step 4 into a clean 12 x 75 glass test tube. More cells can be used if available. |
| 7. | Add a volume of Eluting solution equal to that of cells used in step 6. |
| 8. | Cover tube and mix GENTLY by inversion four times. |
| 9. | Immediately centrifuge for 60 seconds at high speed (normal setting). |
| 10. | Transfer supernatant (eluate) to a clean, labeled glass tube. Discard cells. |
| 11. | Add Buffering Solution, drop by drop to tube from step 10, until the blue color persists with mixing (pH 6.4-6.6). |

|  |  | 12 | Mix well and re-centrifuge. Transfer to a clean, labeled glass tube and proceed to testing. |  |
| --- | --- | --- | --- | --- |
| ##### Procedure: Testing the eluate | Record Eluate kit lot number and expiration date as well as result reactions on corresponding Master List. |  |  |  |

| Step | Action |
| --- | --- |
| 1. | Label tubes for cells selected to be tested against patient eluate and 3 tubes for antibody screen to be performed with last wash. |
| 2. | Place one drop of cell to be tested to corresponding labeled test tube. |
| 3. | Wash once with 0.9% saline. |
| 4. | Decant, and blot to a dry button. |
| 5. | Add 2 drops of eluate to the dry button in each tube labeled for patient testing. |
| 6. | Add 2 drops of Last Wash solution to screening cells to be tested against the last wash. |
| 7. | Mix and incubate at 37C for 15-30 minutes. |
| 8. | Add 5-10 drops of Working Wash Solution to each tube. Mix, and centrifuge for 30 seconds. |
| 9. | Decant completely and blot. |
| 10. | Add 2 drops of anti-human globulin to each tube. |
| 11. | Mix and centrifuge. Record results immediately. |
| 12. | Resuspend cells gently; read using lighted mirror, grade agglutination and record results. Note: Microscopic verification of negative results is not required. |
| 13. | Add Coombs control cells to all negative and weakly positive tubes. |
| 14. | Mix, centrifuge, and read for agglutination. Record results. |

| ##### Evaluating Results: |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | If: | Then: |  |
|  |  | - Last wash testing is positive | - Testing is invalid. Repeat elution step with new red cells. |  |
|  |  | - Last wash test results are negative and Coombs control on all negative cells is positive | - Testing is valid. Proceed to interpretation |  |
|  |  | - Coombs control cells are negative | - Testing is not valid. Repeat testing. |  |

Continued on next page

| ##### Interpretation: |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | If: | Then: |  |
|  |  | - Results are valid | - Any antibodies identified in the eluate may be assumed to have been eluted from the patient’s coated red cells. |  |
|  |  | - Suspected drug-related positive DAT (all cells are reactive) | - Consider referral for testing against red blood cells coated with appropriate drug, before concluding that no antibody has been eluted from the cells. |  |

| ##### Reporting Results |  |
| --- | --- |

| Step | Action |  |  |  |
| --- | --- | --- | --- | --- |
| 1. | Insert quick key e or test ELU into additional patient testing box |  |  |  |
| 2. | Answer test using table below |  |  |  |
|  |  | If: | Then: |  |
|  |  | Antibody(s) identified | Enter corresponding ETC code from the Antibody list in computer manual |  |
|  |  | All cells tested are positive of approximately equal strength | Enter dated free text comment, “Eluate demonstrated reactivity of equal strength with all cells tested, no detectable pattern |  |
|  |  | All cells tested are negative | Enter dated free text comment, “Eluate negative with all cells tested”. |  |

| ##### Related Documents: | - Choosing Selected Cells - Performing an Antibody Identification Panel |
| --- | --- |

| ##### References: | Gamma Elution Kit, package insert, latest edition |
| --- | --- |

End of Document