| TRANSFUSION SERVICE DAILY TEMPERATURE LOG |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date/Time | AM | PM | AM | PM | AM |  | PM | AM | PM | AM |  | PM |  |
| Helmer Double Door Refrigerator |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Chart 1-6C; +/- 2C of Top |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Top 1-6C |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bottom 1-6C |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Temp OK? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Blood Product Inspection OK? |  | XXX |  | XXX |  |  | XXX |  | XXX |  |  | XXX |  |
| Helmer Single Door Refrigerator-Reagent/Specimen Storage |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Chart 2-6C; +/- 2C of Top |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Top 2-6C |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bottom 2-6C |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Temp OK? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Blood Product Inspection OK? * | XXX | XXX | XXX | XXX | XXX |  | XXX | XXX | XXX | XXX |  | XXX |  |
| *Complete when used for Blood Storage Jewett Freezer |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Chart <-18C; +/- 2C of temp |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Temp <-18C |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Temp OK? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Blood Product Inspection OK? |  | XXX |  | XXX |  |  | XXX |  | XXX |  |  | XXX |  |
| Helmer Single Door #2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Chart 1-6C; +/- 2C of Top |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Top 1-6C |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bottom 1-6C |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Temp OK? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Blood Inspection OK? |  | XXX |  | XXX |  |  | XXX |  | XXX |  |  | XXX |  |
| Platelet Rotator/Incubator. Chart temp 20-24C;+/-2C of temp. Digital temp 20-24C. Temp OK?. Platelet Product Inspection OK?; XXX; XXX; XXX; XXX; XXX. Helmer Backup Freezer. Chart <-18C; +/- 2C of temp. Temp <-18C. Temp OK?. Blood Product Inspection OK?*; XXX; XXX; XXX; XXX; XXX; XXX; XXX; XXX; XXX; XXX. *Complete when used for Blood Storage. |
| Technologist/Sr.LA |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Date/Time |  | AM |  | PM |  | AM | PM | AM | PM | AM | PM | AM | PM |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Helmer Plasma Thawer A |  |  |  |  |  |  |  |  |  |  |  |  |  |
| External Temp 35-37.5C |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Digital Temp 35-37.5C |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Water Level OK? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Helmer Plasma Thawer B |  |  |  |  |  |  |  |  |  |  |  |  |  |
| External Temp 35-37.5C |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Digital Temp 35-37.5C |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Water Level OK? |  |  |  |  |  |  |  |  |  |  |  |  |  |
| RT reagent storage area ( 1- 30 C) |  |  |  | XXX |  |  | XXX |  | XXX |  | XXX |  | XXX |
| Manual Capture Incubator (36-38C) |  |  |  | XXX |  |  | XXX |  | XXX |  | XXX |  | XXX |
| Heat Block (FA020022) 36-38C |  |  |  | XXX |  |  | XXX |  | XXX |  | XXX |  | XXX |
| Heat Block (FA027751) 36-38C |  |  |  | XXX |  |  | XXX |  | XXX |  | XXX |  | XXX |
| Technologist/Sr.LA |  |  |  |  |  |  |  |  |  |  |  |  |  |