## Performing a RT Antibody Screen and/or Panel

| ##### Purpose: | This procedure describes how to set up a RT antibody screen and/or panel. |
| --- | --- |

| ##### Policy: | This procedure is used: - for troubleshooting when cold/room temperature antibodies are suspected to be the cause of ABO serum/cell discrepancy - interference in compatibility testing |
| --- | --- |

| ##### Equipment, Reagents & Supplies |  |
| --- | --- |

| Equipment | Reagents | Supplies |
| --- | --- | --- |
| - Centrifuge - Optical aid - Serological cell washer | - 2-4% antigen screen and/or panel red blood cells - 0.9% saline | - Test tubes - Test tube rack - Plastic pipettes |

| ##### Specimen Requirements: | One 6-10ml EDTA or clotted stoppered tube without gel or activator. |
| --- | --- |

| ##### Quality Control: | - Perform daily reagent quality control. |
| --- | --- |

| ##### Procedure: | Follow the steps below to perform this procedure: |
| --- | --- |

| Step | Action |
| --- | --- |
|  | Bring reagents and specimen to room temperature. |
|  | Label each a tube for each cell to be tested. When performing antibody screen, include an auto control. |
|  | Add 1 drop of 2-4% suspension if washed patient cells to the auto control tube. |
|  | Add 1 drop of well mixed panel or screen cell to each appropriately labeled tube. |
|  | Add 2 drops pf patient plasma/serum to each tube. Mix well |
|  | Centrifuge at appropriate setting. |
|  | Examine macroscopically for hemolysis and agglutination. |
|  | Grade and immediately record reactions. |
|  | Incubate tubes for 30 min at RT |
|  | Repeat steps 6-8. |
|  | Incubate tubes at 4C for 30 minutes. |
|  | Repeat steps 6-8. |

| ##### Interpreting Results: |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | If | Then |  |
|  |  | No agglutination or hemolysis is present | Result is negative; indicates the absence of an antigen/antibody reaction using this method. |  |
|  |  | Hemolysis and/or agglutination are present | Result is positive; - Indicates the presence of an antigen/antibody reaction with this method. - Refer to Interpreting Antibody Panel procedure. |  |

| Reporting Results: |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | If: | Then |  |
|  |  | Antibody Screen | Insert test ASC. Add BBCNC2 test. Record cord cell results IS; INC1 (RT); INC2 (4C); INTERP. S1; 0; 0; 0; N. S2; 0; 0; 0. S3; 0; 0; 0. AC; 0-4+; 0-4+; 0-4+. S1; 0-4+; 0-4+; 0-4+; Some but not all S1-S3 Cells reactive P (Run panel to determine specificity). S2; 0-4+; 0-4+; 0-4+. S3; 0-4+; 0-4+; 0-4+. AC; 0-4+; 0-4+; 0-4+. S1; 1-4+; 1-4+; 1-4+; All SC1-3 reactive, P (NSP Cold). S2; 1-4+; 1-4+; 1-4+. S3; 1-4+; 1-4+; 1-4+. AC; 0-4+; 0-4+; 0-4+. |  |
|  |  | Antibody Panel | Insert test ABI Refer to Interpreting Antibody Panel procedure |  |

| ##### Related Documents: | - Grading Serological Reactions - Interpreting an Antibody Identification Panel |
| --- | --- |

End of Procedure