#### Receiving and Storing Component Inventory

| ##### Purpose | The purpose of this procedure is to provide instructions on the receipt, visual inspection and storage of blood components. |
| --- | --- |

| ##### Policy | - SRMC has sole vendor contract with Vitalant as our blood supplier. Any units collected or processed by a different supplier or facility, are imported through Vitalant. - Component inventory may be processed by Transfusion Service trained SLA, MLT or CLS. - All red cell components MUST have at least 3 segments remaining on bag to be acceptable for receipt into inventory. - All components are to be transferred directly from the blood supplier’s validated transport container to the appropriate monitored blood storage device as soon as possible after receipt. - When left sealed, the blood supplier container is validated for transport of up to 24 hrs. - The date/time of receipt of the components and identity of responsible party will be recorded directly in the Laboratory Information System (LIS). - The visual inspection will be performed at time of receipt and documented directly in the LIS. - Units that fail the visual inspection will be quarantined in the appropriate storage device, receipt refused in the Reconciliation step in the Portal and product returned at the direction of the supplier. |
| --- | --- |

| ##### Procedure Receiving |  |
| --- | --- |

| Step | Action |  |  |  |
| --- | --- | --- | --- | --- |
| 1. | Sign the driver’s delivery document. |  |  |  |
| 2. | Open the shipping box and remove the shipping document from the inside of the box. |  |  |  |
| 3. | Verify that the shipment is for Sutter Roseville. |  |  |  |
|  |  | If: | Then: |  |
|  |  | Yes | Continue to step 4 |  |
|  |  | - No | - Put Shipping Document back into box and seal with mailing tape - Contact Vitalant, Distribution to arrange for a driver to pick up shipment. |  |

| 4. | Inspect the condition of the container and coolant. |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | If: | Then: |  |
|  |  | Container seal is intact and coolant acceptable (ie. Wet cubed ice but not excessively melted for RBC products, RT polar packs for platelets and sufficient dry ice for plasma and Cryo) | Continue to step 5 |  |
|  |  | Seal broken on container or coolant unacceptable for product (See above) | - Note problem on shipping document - Reseal container - Notify Blood Supplier of problem - Notify T.S Coordinator or pathologist - Return products to supplier |  |
| 5. | Verify the following: - All units on shipping document have been received - All units received are listed on the Shipping document - The following information matches on the unit label and Shipping document: - Donor unit number - Blood Type - Expiration date - Component Description |  |  |  |
| 6. | Were any of the following seen: units received that were not on shipping document, units on shipping document but not received or information on shipping document and unit label discrepant? |  |  |  |
|  |  | If: | Then: |  |
|  |  | No | Proceed to step 7 |  |
|  |  | Yes | - Record problem on shipping document - Call Vitalant Distribution and report problem - Notify or leave note for Transfusion Service Coordinator - Proceed to step 7 |  |

| 7. | Does the unit have an irradiation sticker? |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | If: | Then: |  |
|  |  | No | Proceed to step 8 |  |
|  |  | Yes | Verify that the RAD SURE sticker reads IRRADIATED - If it does not, quarantine unit, notify supplier, fill out return form and leave note for Transfusion Service Coordinator |  |
| 8. | Perform visual inspection of each unit. Blood Component Visual Inspection Guide may be used for reference when clarification is needed. |  |  |  |
|  |  | Component Type | Are any of the following present? |  |
|  |  | RBC | - Segments that appear much lighter in color than what is in bag - red cell mass purple - zone of hemolysis just above red cell mass - visible clots - plasma or supernatant murky, purple, brown or red - blood or plasma in sealed ports |  |
|  |  | Frozen products | - evidence of thawing (bag indentation is no longer visible) - evidence of cracks in bags or tubing - grossly lipemic units |  |
|  |  | Platelets | - presence of excessive aggregates |  |
| 9 | Were any of the observations listed in Step 8 present? |  |  |  |
|  |  | If: | Then: |  |
|  |  | Yes | - Visual inspection failed - Document reason for refusal on Shipping form - Quarantine units - Refuse products in Reconciliation in Portal - Notify Transfusion Service Coordinator and blood supplier - Create return form in Portal and return unit to supplier on next run - Proceed to step 10 |  |
|  |  | No | Proceed to step 10 |  |

| 10. | Are you entering units into computer system at this time? |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Yes | Refer to Computer Manual: Blood Product Entry for instructions Proceed to step 11 upon completion |  |
|  |  | No | Proceed to step 11 |  |
| 11. | Are any of the RBC products, for neonatal stock? |  |  |  |
|  |  | If: | Then: |  |
|  |  | No | Proceed to step 12 |  |
|  |  | Yes | - Calculate the date when the unit will be 7 days post irradiation. - Complete the date on the temporary Neonatal unit tag - Use single piece of scotch tape to attach the temporary label - Proceed to next step |  |
| 12. | Are units for stock inventory? If:; Then:. Yes; Proceed to next step 14. No; Proceed to step 13. |
| 13. | Are components Autologous units? If:; Then:. No; - Proceed to step 14. Yes; SLA alerts Transfusion Service CLS/MLT that Auto units have arrived If:; Then:. Date of Surgery is within 7 days; - CLS/MLT enters unit(s) into inventory ASAP - CLS checks patient record for current crossmatch orders - CLS replaces stock units with Autologous as needed. Date of Surgery greater than 7 days; - CLS/MLT enters units into inventory or leaves respective Shipping document on top of TS stacking tray - Makes entry in communication log to alert subsequent Day shift that unit needs to be entered.. |
| 14. | Using the storage chart below, place components into the appropriate storage device. Products should be processed as soon workload allows. Products CANNOT be out of temperature storage requirements for more than 20 minutes. |  |  |  |

| Product | Receipt | Ready for Infusion |
| --- | --- | --- |
| RBC | - 1-6C, - Allogeneic in Helmer Double door Refrigerator - Autologous and Designated in Helmer Single door #2 Refrigerator. - Neonatal unit-on O Neg Emergent shelf in Helmer Double door refrigerator | - 1-6C, - Allogeneic on cross match shelf in Helmer Double door Refrigerator - Autologous and Designated in Helmer Single door #2 Refrigerator. - Cross match shelf in Helmer Double door Refrigerator |
| FFP | - < -20C - Helmer Freezer | - 1-6C - Helmer Double door Refrigerator |
| Plasma, Cryo Reduced | - < -20C - Helmer Freezer | - 1-6C - Helmer Double door Refrigerator |
| Cryo, Cryo Pool | - < -20C - Helmer Freezer | - RT - counter |
| Platelets | - 20-24C - Platelet Incubator | - 20-24C - Platelet Incubator with continuous agitation |

| ##### Related Documents | - Confirming a Blood Type on Donor RBC Units - Quarantining Blood Products - Transferring/Returning Blood Components - Blood Product Entry - Blood Component Visual Inspection Guide, AABB Press, ARC |
| --- | --- |