#### Determining Specimen Acceptability for Transfusion Service Testing

| ##### Purpose | This procedure describes how to determine specimen acceptability in the Transfusion Service, critical to safe transfusion. |
| --- | --- |

| ##### Policy | - This procedure must be followed when a specimen is received for testing performed by the Transfusion Service. - Truncated names or those missing Jr./Sr. designation will be considered acceptable as long there is no discrepancy in the spelling of the portion visible and other identifiers, including the date of birth, matches amongst documentation. - Exceptions to this policy may only be approved by the pathologist. See Managing Requests for Exceptions to Policies and Procedures |
| --- | --- |

| ##### Procedure | Follow the steps below to determine specimen acceptability. In case of discrepancy or doubt, a new specimen must be recollected. |
| --- | --- |

| If | Then |
| --- | --- |
| Non compatibility testing (Includes Prenatal testing, DAT, Cord Blood testing and ABORH Evaluation for Rhogam candidate ) | Refer to the general laboratory specimen acceptability criteria. - If specimen is drawn by personnel other than those approved to draw BB specimens, add PB comment and result with dated freee text comment, “ABORh not for transfusion, non lab collected specimen.” |
| Compatibility testing, product transfusions | Follow this procedure. |

| Step | Action |  |  |  |
| --- | --- | --- | --- | --- |
|  | Check for specimen labeling criteria - Identification of Patient with the following identifiers: - First and last name of the patient. Pre-admitted fictitious names will be assigned in cases where the patient’s identification cannot be verified at the time of admission. - Medical Record Number - BB Armband Number (Not required for non RBC transfusion) - Date of birth - Date and time of collection. - Phlebotomist identification (Initials, or code) - Label must be permanently affixed to the tube. |  |  |  |
|  | Match specimen label with BB armband paperwork, item by item for agreement. (Not required for non RBC product) - Patient identification outlined in step 1 must match exactly. See policy for truncated names. - Phlebotomist signature/code or initials must be completed on both label and BB armband paperwork - Date and time must be completed and date must be accurate. |  |  |  |
|  | Match the specimen label with the order, downtime form or computer screen, item by item for agreement. - Date of birth on specimen must match with the original order but not used as an identifier for subsequent orders except in cases of truncated names or missing Jr./Sr. designations. Note: Using mouse to hover over truncated name in Sunquest will cause full name to display. |  |  |  |
|  | Ensure specimen quantity is sufficient and in the correct tube. - Adults: One (1) 9 ml EDTA (preferred) - Infants/Cord Blood: 1.0 ml EDTA or red stoppered tube Note: 1 EDTA microtainer acceptable on infants when ABORh or DAT only is ordered. |  |  |  |
|  | Check for specimen quality. - Non hemolyzed samples are optimum but mild to moderate hemolysis is acceptable when recollection would delay patient care and it does not affect testing. Markedly hemolyzed samples are not acceptable. Note: There may be special situations when this sample must be used for testing. Example: Trauma, Burn patients, Transfusion Reactions, hemolytic anemia. - Check for dilution - Specimens that are suspected to be grossly contaminated with IV fluids must be recollected |  |  |  |
|  | Check the age of the specimen. |  |  |  |
|  |  | If Recipient | Then specimen expires in |  |
|  |  | Patient has been transfused within 3 months with blood or component(s) | 3 days |  |
|  |  | Patient is currently or has been pregnant within the previous 3 months | 3 days |  |
|  |  | History is uncertain or unavailable | 3 days |  |
|  |  | Is not currently or has not been pregnant or transfused within the previous three (3) months and the draw date is 2 or more days in advance of OR date. Completed Pre-Transfusion Questionnaire form | 5 days |  |

|  |  | All other situations | 3 days |  |
| --- | --- | --- | --- | --- |
|  |  | If specimen was collected more than 5 days in advance of procedure | Reject specimen |  |

| ##### Interpreting the Results |  |
| --- | --- |

| IF | THEN |
| --- | --- |
| - Sample was labeled with Clinical Collect bar code and one of the following is illegible or has been cut off : name, MRN or DOB (see step 1 of procedure) | - Reprint a SQ label by scanning the CID on the Clinical Collect labeled sample - Review the new label to verify that the identifiers, other than the illegible one, are the same as the one on the Clinical Collect label AND that the illegible identifier is the same as the one on the EPIC label attached to the band card - If the reprinted label meets the qualifications above, attach the SQ label underneath the Clinical Collect label and proceed with sample testing - If the reprinted label does not meet the qualifications above or the CID bar code on the Clinical Collect label is illegible, reject the sample will be rejected and order it for recollection. |
| Sample was not labeled at patient bedside with the Clinical Collect system and a patient identifier does not match or is missing | - Reject, redraw |
| Incomplete collection information ( Date, Time or phlebotomist) | - If collector is available, have them add information to label - If collector not available, reject and recollect |
| Patient identification on BB armband paperwork does not match specimen label - Note: See policy section for truncated names or missing Jr/Sr. designation | - Reject, redraw |
| Collection information is discrepant, incorrect or missing( Date, Time or phlebotomist) | - If collector is available, have them add or correct information on label - If collector not available, reject and recollect |
| Request form (SQ label) does not match with patient specimen (specimen label BB armband) Note: See policy section for truncated names or missing Jr/Sr. designation | - Specimen information is correct, request Registration update in computer and reprint labels - Order information is correct, reject and recollect sample |
| Quantity is not acceptable | Notify responsible party to redraw appropriate specimen. (Proceed with preliminary testing, if situation warrants.) |
| Quality not acceptable | Reject, redraw |
| Age of specimen not acceptable | Reject, recollect on appropriate date |

Continued on next page

| ##### Reporting Results | Follow the steps below to document a specimen rejection or correction to a sample labeled with Clinical Collect bar code. |
| --- | --- |

| Step | Action |
| --- | --- |
|  | Document in LIS - Add BBCNC comment to document use of slight to moderately hemolyzed samples. - If cancellation is required, contact RN to notify of need for recollection. Cancel in LIS using appropriate cancellation codes. Reorder test for STAT recollection. |
|  | Report to Transfusion Coordinator/designee for appropriate follow-up action and inclusion on the Monthly Summary report. |

| ##### Attachments | A: Pre-Transfusion Questionnaire Form including interpretation |
| --- | --- |

Attachment A:	 Pre-Transfusion Questionnaire Form

Pre-Transfusion Questionnaire

To be completed if OR is 2-5 days in future

Affix Patient ID sticker Here

1.	Have you been pregnant within the past three months?			YES	NO

2.	Have you received a blood transfusion within the past three months?	YES	NO

3.	Are you having surgery?	YES	NO		What Date?_________________

Patient’s Signature:_______________________________	Date:___________________

| If: | Then |
| --- | --- |
| YES to Questions 1 or 2 | The blood sample is only good for 3 days and must be recollected if surgery or scheduled transfusion is past this time. |
| NO to Questions 1 & 2 | The blood sample is good for 5 days or 3 days after the first transfusion, whichever comes first. |
| Yes to question 3 and date less than 5 days in future | Process the specimen and use expiration date indicated by responses to questions 1 & 2 |
| Yes to question 3 and date is greater than 5 days in future | Cancel workup. Notify appropriate party that specimen was collected too soon and appropriate date for recollection. Request reorder for correct date. |
| No to question 3 | Specimen does not qualify under pre-op questionnaire policy. Consult with pathologist for approval for extension if situation warrants. |