## Performing Antigen Testing by Tube Method

| ##### Purpose: | To provide instructions for testing red cells for specific antigens by tube method. |
| --- | --- |

| ##### Policy: | - Refer to Attachment A to determine whether or not patients that currently demonstrate or have a history of clinically significant antibodies must be provided with antigen negative and/or AHG compatible red cells. - Antigen typing results by tube method are only read macroscopically - C, c, E, e and Kell typing may be performed on the Echo Analyzer or by using this method - A print out of results performed on the Echo analyzer will be filed in the phenotyping worksheet binder - A manual worksheet will be used for antigen typing performed manually - Direct serologic antigen testing should not be performed in the following situations: - Patient has been transfused within the last 3 months. - Note: Sickle Cell Protocol patients may be typed 6 weeks post transfusion but reactions must be evaluated for mixed field reactivity. - Antigen typing results using non-monoclonal reagents when patients demonstrate a macroscopically positive DAT - RBC Molecular Genotyping can be used for recently transfused patients when phenotyping is required and serological methods fail. |
| --- | --- |

| ##### Equipment/Reagents/Supplies: | Equipment | Reagents | Supplies |
| --- | --- | --- | --- |
|  | - Centrifuge | - Antigen specific Antiserum | - Test tubes - Disposable pipets - Segment sampler - Test tube rack - Antigen worksheet - Antigen tags |

| ##### Specimen Requirement: | 2-5% cell suspension of patient or donor cells. See Manufacturer’s insert for washing requirements. |
| --- | --- |

| ##### Quality Control: | - Positive and negative control must be performed on each day of use. - Select a heterozygous cell as the positive control. - Record the cell number and expiration date of the control selected on the worksheet. |
| --- | --- |

| ##### Procedure: |  |
| --- | --- |

| Step | Action |
| --- | --- |
| 1. | Locate manufacturer’s package insert in Manufacturer’s package insert binder. |
| 2. | Take a blank Red Cell Antigen-Special Phenotype Log worksheet from the antigen typing binder. Fill in name of antisera, manufacturer, lot number, and expiration date in appropriate space. |
| 3. | List all donor numbers and/or patient name in appropriate space on worksheet. |
| 4. | Perform testing using tube method as outlined in manufacturer’s insert. |
| 5. | Indicate testing phase at top of column and immediately record graded reactions on worksheet. |
| 6. | Record antigen interpretation for each unit tested in LIS. See resulting section for instructions. |
| 7. | Complete antigen tag and attach to appropriate unit. |
| 8. | File Antigen Worksheet in binder for supervisory review. |

| ##### Evaluating Results: | - If patient result on non-monoclonal reagent is positive and patient’s DAT is also positive, antigen testing is invalid. - Positive and negative controls must react appropriately for testing to be valid. |
| --- | --- |

| ##### Interpretation: |  |
| --- | --- |

| Result | Interpretation |
| --- | --- |
| Agglutination | Positive |
| No agglutination | Negative |
| +/- Mixed field | Unable to determine (Do not record in computer or tag unit) |

Continued on next page

| ##### Reporting: |  |
| --- | --- |

| Step | Action |  |  |  |
| --- | --- | --- | --- | --- |
| 1. |  |  |  |  |
|  |  | If: | Then: |  |
|  |  | Patient Testing | - Add test AGI in Patient Testing grid of Crossmatch Accession number - Result using the appropriate antigen ETC code from the List in the Computer Manual |  |
|  |  | Unit Testing | - Open Blood Product Testing in LIS - Enter each unit number tested - Add Test AO to each unit - Result using the appropriate antigen ETC code from the List in the Computer Manual |  |

| ##### Related Procedures: | - Antigen Screening Units by Crossmatch - Policy Defining Clinically Significant Antibodies - Processing Assays on the Echo Analyzer |
| --- | --- |

| ##### Forms: | A: Red Cell Antigen-special Phenotype Log |
| --- | --- |

| ##### Attachments: | A: Guideline for obtaining antigen negative units |
| --- | --- |

End of Document

Attachment:  A

Guideline for obtaining antigen negative units

| Antigen | Screen with commercial antisera | Low incidence antigen | XM for compatibility | [Order from reference lab] | Requires AG neg in MISYS |
| --- | --- | --- | --- | --- | --- |
| D | X |  |  |  |  |
| C | X |  |  |  | X |
| c | X |  |  | X | X |
| E | X |  |  |  | X |
| e |  |  |  | X | X |
| f | X (Give c or e neg) |  |  | X | X |
| A1 |  |  | X |  | X |
| V |  | X | X |  |  |
| Cw |  | X | X |  |  |
| K | X |  |  |  | X |
| k |  |  |  | X | X |
| Kpa |  | X | X |  |  |
| Kpb |  |  |  | X |  |
| Jsa |  | X | X |  |  |
| Jsb |  |  |  | X |  |
| Fya | X |  |  |  | X |
| Fyb | X |  |  |  | X |
| Fy3 | ( Give Fya & Fyb neg) |  |  | X | X |
| Jka | X |  |  | X | X |
| Jkb | X |  |  | X | X |
| Jk3 | (Give Jka & Jkb neg) |  |  | X | X |
| Lea |  |  | X |  |  |
| Leb |  |  | X |  |  |
| P1 |  |  | X |  |  |
| M |  |  | X |  |  |
| N |  |  | X |  |  |
| S | X |  |  |  | X |
| s | X |  |  | X | X |
| Lua |  | X | X |  |  |
| Lub |  |  |  | X |  |
| Xga |  |  | X |  |  |
| U |  |  |  | X |  |

- Order units for multiple antigens from reference lab as needed