I.	PRINCIPLE:

Ehrlichia are small, gram-negative bacteria that invade leukocytes. They are typically 	minute, round (cocci) bacteria ranging form 1 to 3 micrometers in diameter. Once 	invaded in the leukocytes the ehrlichiae divide to form vacuole-bound colonies known as 	morulae. The clinical picture of Ehrlichiosis is low white count, low platelet count, 	elevated liver enzymes and demonstration of the organisms (morulae) on blood smears. 	Laboratory diagnosis and confirmation of the disease are made by PCR (more sensitive in 	early/acute and late/convalescent) and the demonstration of morulae in the WBCs on

Wright-Giemsa stained blood smears. Since 	symptoms are non-specific (fever,

headache, generalized aches) and vector for Ehrichia is also that for Babesia, Lyme,

Rocky Mountain Fever review of the blood smear is helpful as a differential diagnostic

tool.

II.	SPECIMEN:

Fresh EDTA blood less than 4 hours old is preferred; however blood up to 24 hours old 	may be used.

III.	MATERIALS / REAGENTS:

3 x 1 glass slides

Pasteur pipettes

Wintrobe Tubes

Lab centrifuge (speed capability1200rpm)

Wright stain/buffer/wash

Hematek stainer

IV.	PROCEDURE:

- Perform a routine CBC to obtain WBC and platelet count

- Fill 1 Wintrobe sedi tube with blood and label with specimen #

- Immediately spin tube (with an empty tube for balance) 10 minutes at 1200 RPM

- Remove plasma to 4-5mm above buffy coat layer, saving a portion of plasma in a tube to re-suspend buffy layer.

- Remove, buffy coat layer and a small amount of RBC with 9” glass pipette

- Place a drop of mixture prepare smear on slide (refer to smear procedure).

- Prepare 5-6 smears in this manner.

- Label smear with accession number, buffy and date.

- Air dry smears and stain 3 slides in automatic slide stainer.

- Review Buffy coat smears on 50 x oil looking for the morulae in white cell   cytoplasm (fig 1-4)

- Review any suspicious findings on 100 x oil

- Refer to supervisor immediately if any morula or suspected morula seen (or in

absence of supervisor, page Clin Path resident to review and contact caregiver)

- Leave all smears and Buffy coat smears in supervisor review area

- Order BSINT, print label and affix on instrument print out and leave slide and slip in

resident review tray.

V.	REPORTING:

- Reviewing technologist is responsible for noting as Negative or Positive

- Clin Path Resident/Attending will formally sign-out results as an interpretative report. It will be noted that a Negative result does not definitively rule out Ehrlichia and that PCR should be done. Other times buffy may be suggestive but not definitively positive and that will be noted.

- If positive complete “state public health reportable” form needs to be completed, one copy to state public  health office, and retain a copy in lab “reportable”   folder

VI.	REFERENCES:

CDC, Human Ehrlichiosis in the United States, Laboratory detection 4/2000

CDD, Human Ehrlichiosis in the United States, The Organisms 4/2000

Stop Ticks on People,

A Coalition in partnership with United Way of Dutchess County, DOH, National Institute

of Health 2002

VII. 	HISTORY:

H-1         This procedure was written by N. Ortoli-Drew on 8-24-2005.

H-2         This procedure was revised by N. Ortoli-Drew 3-2011.

H-3         This procedure was revised by Elizabeth Degano 12-2012.