I.	PRINCIPLE:

Polybrene is a specific heparin antagonist that will shorten the APTT when the prolongation 	is due to the presence of heparin. Polybrene will not correct an APTT prolonged by liver 	disease, factor deficiencies, or 	coumadin.

II.	PROCEDURE:

A. 	Place 0.5 ml of patient plasma into sample cup.

B. 	Add 0.05 ml (50 ul) of 1.5 ug/ml final concentration polybrene (in refrigerator).

C. 	Run a PTT on the mixture on the BCS in the usual manner.

D.	If there is partial or no response of the PTT to 1.5 ug/ml of polybrene, add an 			additional 0.05 ml (50 ul) of 	6.0 ug/ml polybrene to the same 0.5 ml of patient 			sample and repeat the PTT.

(If original PTT is > 50.0 seconds, the 6.0 ug/ml concentration may be used directly.)

E. 	Make an appropriate comment against the PTT using canned comments for correction or non-correction of the PTT.

Report result of whichever concentration shortened the PTT the most.

G. 	To prepare polybrene, refer to Reagents section at end of this procedure manual.

III.	HISTORY:

H-1	This procedure was written by N. Kriz on 12-16-2004.

H-2	This procedure was revised by N Kriz on 2/2/2010.

H-3	This procedure was revised by N Kriz on 2/3/2011.

H-4	This procedure was reviewed by N Kriz on 12/1/2011.

H-5	This procedure was reviewed by N Kriz on 12/19/2012.