- Purpose:

- To consistently prepare patient specimens for use as abnormal hemoglobin references and linearity standards.

Procedure:

A.	Place the sample in a 10 ml rubber red top tube (no additive).

B.	Wash 3 times with saline (open a new bottle of saline)

1. Add equal volume of saline to tube. Mix well.

2. Centrifuge at 300 rpm for 10 minutes, remove and discard saline/plasma layer.

3.  Repeat above process 2 more times.

C.	After last wash pipet saline layer off red cell layer.

D.	Add distilled water, 2 times the volume of cells, to patient RBCs.

E.	Vortex and let stand 2 hours.

F.	Centrifuge and pipet off stroma layer if visible.

G.	For SC and SS place 15 ul in each plastic tube.

H.	For Linearity (EE, CC) place 40ul in each plastic tube.

I.	Label tubes with the appropriate Hgb type and write the % of the Hgb on a piece of paper 	and insert into the bag.

J.	Aliquot and freeze at -70 degrees.

II.	HISTORY:

H-1	This procedure was written by P. Morris on 9-1-08.

H-2	This procedure was revised by P. Morris on 2-2010.

H-3	This procedure was revised by S. Richardson on 3/28/12.

H-4	This procedure was revised by A. Link on 3/4/2013.