I.  	Policy:

To comply with CAP regulations:

- Of proper notification of panic results to patient caregivers.

- To assure proper documentation and notification in the event of data modification.

- To monitor TATs for ordered tests with added variables.

- To call completed test reports to verify manual entry.

II.  	Procedure:

-In SoftLab:

To Call “Panic Results” Report:

- Click on Utilities.

- Double click on Exception Report.

- Click on Department- Drop down to MHEMA.

- Unclick all boxes except Panic results and  Printed specimen comments.

- Determine specific printer to print to- on right side (drop down).

- Print report.

To Call “Results Modified after Verification” report:

- Click on Utilities

- Double click on Exception Report.

- Click on Department- Drop down to MHEMA.

- Unclick all boxes except Modified after verification and Printed

specimen comments.

- Determine specific printer to print to- on right side (drop down.)

- Print report.

To Call Turnaround Time Report (TAT):

- Double Click Turnaround Time Statistic.

- Specific type TAT reports:

- For Specific Tests vs. Time Frame:

- Click on Ordered tests.

- Type in Soft test code.

- Under Turnaround Time Start Time (drop down) is Received.

- Under Turnaround Stop Time (drop down) is Verified.

- Time Frame- adjusts from date to date.

- Other Variables that can be adjusted by Drop Down:

- Priorities: All, Routine, Stat

- Wards: Specific locations in hospital- type in.

- Type of TAT report by Hours, Days, Shifts, etc.

- Volume Reports:

- Start Time is Received.

- Stop Time is Received.

- Can use all other variables (ordered tests, time frame,

priorities and type to call this report.

- Determine specific printer to print to- on right side (drop

down.)

- Print report

To Call Verified Result Report:

- Click Reports.

- Double click Verified Result report.

- Put date into Verified date (on right).

- Unclick Print flags to right.

- Put in Soft test code in blank space under Template.

- Determine specific printer to print to.

- Print report.

III.	HISTORY:

H-1	This procedure was written by Donna fico on 4/2013.