I.	PRINCIPLE:

Sudan Black B stains lipids in cells. Neutrophils stain the most strikingly, followed by monocytes with a sprinkling of black granules. Eosinophilic granules stain as black circles	as only the membrane of the granules stain.

II.	SPECIMEN:

Coverslips or 3x1 slides using patient peripheral blood (EDTA) or bone marrow samples.

III.	REAGENTS:

A.	40% formalin

B.	Stock buffer solution

1.	91 ml of liquid phenol -88%- (A.R.)

2.	150 ml absolute ethanol (200 proof)

3.	1.5 gm Na2HPO4. 12 H2O dissolved first in 500 ml distilled water

Mix phenol and ethanol then add phosphate and water mixture.

C.	Stock Sudan solution

1.	1.50 gm Sudan Black B (Fisher CI #26150)

2.	Dissolve in 500 ml absolute ethanol

3.	Dissolve completely by shaking continually two hours.

D.	Working incubation mixture-make fresh

For 3x1 slides:

1.	20 ml stock buffer

2.	30 ml stock Sudan solution

3.	Filter into coplin jar over slides or onto slides on staining rack.

For coverslips:

- 8 ml stock buffer

- 12 ml stock Sudan solution

- Filter over coverslips in coplin jar.

IV.	QUALITY CONTROL:

A.	Normal patient EDTA coverslip sample with Monocytes >10 and Lymphocytes > 	18 with a WBC count >6,000.

V.       PROCEDURE:

A.	Fix in Formalin Vapor for 10 minutes.

B.	Stain fixed smear in Sudan (working incubation mixture) for 10 minutes.

C.	Wash slide well with 95 % ethanol (95 ml absolute ethanol with 5 ml DI water).

D.	Wash with tap water.

E.	Counterstain with 1:10 Giemsa using Hematek buffer for 20 minutes.

(Mix in a red top tube 1ml bottled Giemsa stain with 9 ml of Hematek buffer)

Pour over coverslips in coplin jar or onto slides in coplin jar or on staining rack:

If using large slides in coplin jar adjust volume as follows: 5ml Giemsa with 45ml Hematek buffer.

F.	Wash with tap water and air dry.

G.	Mount coverslips with permount, coverslip 3x1 slides with permount.

VII.       	RESULTS:

Results are evaluated by an attending physician and resident.

VIII.       REFERENCES:

1.	Sheehan, H.L., Storey, GW:  An improved Method of 
	Staining Leukocyte Granule with Sudan Black B, Journal of Pathology 59:336-	337. 1947

2.	Baillif, RN, Kinbrough, R.T.: Studies on Leukocyte Granules after Staining with 	Sudan Black B Nag-Grimwald Giemsa, J. Lab. Clin. Med. 32, p. 155-166.

IX.	HISTORY:

H-1	This procedure was written by P. Morris on 08-05-97.

H-2      This procedure was revised by Susan Richardson on 5/24/12.