I.	PRINCIPLE:

VonWillebrand Factor (VWF) is the molecule that is absent or abnormal in patients with vonWillebrand’s disease.  The function and level of this molecule can be measured by the aggregation of platelets with Ristocetin in the presence of patient, or control, plasma. In Type IIB vonWillebrand’s variant, the patient’s platelets respond to lower concentrations of Ristocetin than normal.

II.	SPECIMEN:

The specimen is collected and handled the same as for platelet aggregation – see Platelet Aggregation section of this Procedure Manual, “Specimen” section of the procedure.

III.	PROCEDURE:

Refer to Platelet Aggregation Procedure for specimen collection, preparation of specimen, and preparation of aggregometer. The specimen is only tested with the concentrated and dilutions of Ristocetin.

- Reagent preparation:

- Ristocetin 100 mg. vial reconstituted with 4 ml. deionized water = 25 	mg./ml

- Preparation of Ristocetin dilutions:

## B.	Final Concentration:

# 1.	Dilution		Initial Concentration		after 1:20 dilution

2.	Undiluted		25 mg/ml			1.25 mg/ml

3.	1:2			12.5 mg/ml			0.625 mg/ml

4.	1:4		  	6.25 mg/ml			0.312 mg/ml

C.	Aggregation of specimen:

- Pipet 0.4 ml PPP into cuvette.

- Pipet 0.4 ml PRP into cuvette containing magnet.

- Adjust aggregometer baselines.

- Pipet 20 ul Ristocetin dilutions into center of each cuvette.

- Repeat aggregation using lower concentrations until no aggregation is observed.

IV.	REAGENTS:

A.		3.24% Sodium citrate, 3.24 grams/100 ml deionized water

B.		Ristocetin 100 mg vial reconstituted with 4.0 ml deionized water

C.		Ristocetin dilutions prepared with deionized water immediately before testing

D.	Supplies:

1.	Platelet aggregometer

2.	Aggregometer magnets

3.	Aggregometer cuvettes

4.	Associated aggregometer computer

5.	Adjustable pipets and tips (100-1000 and 0-20)

6.	Polycarbonate collecting tubes

7.	Laboratory centrifuge with adjustable speed and timer (900 rpm for prp

and 3000rpm for ppp, both spun for	10 minutes

8.	12 x75mm plastic tubes and caps

E.	Interpretation:

Patients with Type IIB von Willebrand’s will demonstrate platelet aggregation 	with low concentrations of Ristocetin. Normal individuals and other types of von 	Willebrand’s patients will demonstrate no aggregation at lower concentrations of 	Ristocetin.

F.	Reporting:

Refer to Platelet Aggregation Procedure for reporting the percent aggregation of 	each ristocetin dilution. Complete patient information sheet, aggregation result 	print-out and place in the Resident/attending file for interpretation.

V.   	REFERENCE:

1.	Ferken, Barry: The Platelet and Its Disorders,  1984.

VI.	HISTORY:

H-1 	This procedure was written by Pat Gelineau on 8-2000.

H-2	This procedure was revised by N. Ortoli-Drew on 2-2010.