- PURPOSE:

To define for all laboratory staff the process and procedure for validation and

installation of new instruments and or tests to be integrated into the laboratory.

- POLICY:

No instrument or test will be incorporated into laboratory analysis without

validation of performance, establishment of analysis ranges (AMR), evaluation of false

positives/negatives results, normal range data for the patient population and

compliance with manufacture’s stated standards and staff training/competency

assessment.

- PROCEDURE:

A.	Instruments:

1.	Uncrate and set-up instrument

2.	FSR installation

  - Electronic components

  - System assembly

  - Parts assembly

  - Service review

  - Instrument electronic operation

  - Actual instrument operation

3.	Integration with TS person

  - software configuration

  - instrument operation

  - system configuration

  - reproducibility

  - calibration

  - electronic review/check

  - correlation specimen collection

  - collection of results for truth tables

4.	Lab integration

- reportable ranges (linearity)

- panic data

- review of configuration set-up

- validate all systems, alarms, flag etc operable and consistent with

lab expectation

- continue data collection for comparisons

- data/computer/program transmits

- establish:

- troubleshooting

- maintenance schedules

- manuals (service, instrument settings, computer format,

- implementation documents

- quality control logs

- problem logs

- repeat data levels

- flags and handling

- audit trail

5.	Staff training

- key operator to instrument training

- general staff

- operation

- basic troubleshooting

- maintenance

- cs/fsr presentations

- competency sign-off of techs

B.		Tests:

- Review literature re test or test kit

- Evaluate test/test kit compared to current tests/test kits

- Perform statistical analysis  (reproducibility, standard error, clinical 				Relevance and ranges, etc)

- Evaluate test performance over time and with multi-users

- Prepare procedure, training process and competency assessment

- Evaluate results with respect to peer group analysis

- Final review of procedure, final sign-off

- Train and competency all users

- Add test/test kit to lab test/services profile

- Educated end users (clients) about test (use, reliability, ranges, clinical

usefulness)

- Prepare cost analysis, obtain cpt code, billing code and add to test menu

- Establish ‘go live” date

IV.	HISTORY:

H-1	This procedure was written by Natalie Ortoli-Drew on 6-2009.

H-2      This procedure was revised by Natalie Ortoli-Drew 2-2011.