I.		PURPOSE:

To define for all laboratory staff the procedure to review/verify manual entry of results 	into the computer system.

II.	POLICY:

All manual entry of results into the computer system must be verified;

A. 	To assure correct result information entered

B.  	To assure information entered on correct patient

C. 	To prevent reporting of data missing qualifiers/comments

III.	  PROCEDURE:

- Enter manual results into the computer system following the Soft computer

program for result entry

B. 		Review data entered

1.  	Correct accession number

2. 	Correct result

3.          Any result comments, ie critical data called, etc

C.  		Correct any incorrect entries; you must delete any incorrect entries before exiting       		result entry program (entering/verifying results)

D.  		Review all results entered vs. accession numbers at final computer prompt

If discrepancy:

E.  		Resolve any incorrect information

1.  	enter correct information

2.  	enter data changed comment  following “change results” policy

3.  	Notify caregiver and document as per lab policy

Note: critical review of result entry prior to verification of data will prevent incorrect information from being released.

IV.		DOCUMENTATION:

Any manually entered results in the laboratory are reviewed on a “final resulting

worklist” for accuracy of data entry. A supervisor (usually the supervisor of the area) will

document any data entry errors with tech, assure a corrected report generated and provide

documentation to the laboratory manager for the employee’s performance file. The

supervisors also assess if the data error was solely a “tech error” or a process error. If

indeed it is a process error/event problem, the process will be reviewed to seek remedy. If

it is solely a tech error, the tech will be counseled as to the event.

Manual Result Entry Report Review

| Test | Report | Report frequency | Area responsible |
| --- | --- | --- | --- |
| Sedimentation rate | ESR | daily | Routine Heme |
| Platelet function | PFA | Daily | Routine Heme |
| Zinc protoporphyin | ZPP | Weekly | Routine Heme |
| Manual djp urines | Individual query | Daily | Urines |
| Stool occult blood | OBLD | Daily | Urines |
| Fat, fecal quantative | STFAT | Weekly | Urines |
| Fecal leukocytes | STWBC | Daily | Urines |
| Urine eos | UEOS | Weekly | Urines |
| Urine myoglobin | UMYO | Weekly | Urines |
| Factor XIII | FXIII | Monthly | Coag |
| Hemoglobin screen | HGBSC | Weekly | Special Heme |
| Glucose-6-phosphate dehydrogenase | G6PD | Weekly | Special Heme |
| Pyruvate kinase screen | PK | Weekly | Special Heme |
| Osmotic fragility | OF | Weekly | Special Heme |
| Malaria smear | PMAL | Daily | Routine Heme |
| Babesia smear | PBAB | Daily | Routine Heme |
| Erhlilchia smear | PEHRL | Daily | Routine Heme |

- reports will be called on assigned frequency (usually a random number of reports unless minimal of specimens tested)

- area supervisor is responsible for review

- all problems are to be resolved and documented (lab manager informed, if needed)

- worksheets retained for 1month. At end of month review log will be signed off by supervisor and tally completed.

V.	HISTORY:

H-1	This procedure was written by N. Ortoli-Drew on 9-2003.

H-2	This procedure was reviewed by N. Ortoli-Drew on 3-2005.

H-3      This procedure was revised by N. Ortoli-Drew 2- 2011.

H-4      This procedure was revised by N. Ortoli-Drew 8-2011.

H-5      This procedure was revised by N. Ortoli-Drew 5-2012.