Procedure Change/Revision (IMM 36-A)

Procedure:  Lyme (Borrelia  burgdorferi)Immunetics®C6 ELISA on the DSX for 			Blood and CSFDoc# Imm 119

Change/Revision: Interpretation and Entering of Results

Any results with indexes <0.01 need to be deleted from the LIS middleware and manually entered into Soft as follows:

1. Enter “See Below” into the result field.

2. Under Result Comment type  “Result is <0.01”.

(Previously results <0.10 were being reported as <0.10)

Date of Revision: 6/10/13

Director Signature/Date:

Technologist Signature/Date: