I.	OSMOTIC FRAGILITY:

A.   	Lithium Heparin (dark green tube)

B.         If possible obtain the Hgb value from a lavender tube result.

C.	Specimens received prior to 5PM are placed in 37 water bath in Special

Hematology with a note indicating time placed in the water bath

D.	Specimens received after 5PM are placed in the walk-in refrigerator until the

next morning.

E. 	Leave note in communication log in main lab with specimen label

II.         %S:

A.		The clinical Lab Resident must be called when a request for a STAT %S is   received in the laboratory during the evening or night hours. A special hematology tech may have to be called in if the resident deems this a true emergency. Contact weekend supervisor for guidance.

B.		%S is performed only on known sickle patients who are being transfused or    undergoing an 	emergency procedure.

C.		This test is performed by the Variant II HPLC or D10. The %S result is called to

the physician in addition to being entered into SOFT.

III.	G6PD:

A.	EDTA Specimen run on the Sapphire for a Hgb result and refrigerate the sample. Place in Special Hematology bucket in central processing walk-in.

B.	Any request for a STAT G6PD on the off-shift needs to be cleared by the Clinical Lab Resident. A technologist will be called in for overtime.

IV.		Hemoglobin Screens (routine)

A.	EDTA Specimen run on the Sapphire for a HCT and MCV result and refrigerate the sample. Place in Special Hematology bucket in central processing walk-in.

V. 		SPECIAL STAINS. INCLUDES: Peroxidase, PAS (Periodic acid stain), Alpha Naphthyl Butyrate (butyrate esterase) and Sudan black.

A.	 Specimen- PB or bone marrow EDTA (heparin can be used)

Process:

A.	Make at least 10 smears, using 3x1 frosted end slides. Using appropriate technique for specimen type.

B.	Place in a yellow envelope with the patients bar coded label on the envelope

C.        Leave a note in the main lab communication log.

D.        Place the envelope on the white rack in Special Hematology.

VI.	NBT:

A.	Specimen: red top serum tube (Must arrive at Room temperature)

B.	If the specimen feels cold as if it had been stored in a refrigerator or arrived in a cold pack please leave a note for the Special Hematology technologist for the next day.

C.           This sample MUST be delivered and placed at Room temperature in the white special Hematology bench rack.

D.           Write a note in the main lab communication log.

VII.    	LYSOZYME: LYSOZ (send out test)

A.	1 Lavender tube

B.	Spin at 3000 RPM for 10 minutes and freeze plasma in white tube for transport, label tube.

C.	2 cc in 1 plastic tube in Special Hematology freezer in the labeled rack.

D.           Leave a note in the main lab communication log.

VIII.     RBC ENZYME EVALUATION: RBCEZ (send out test)

- Refrigerate a 10 ml EDTA tube.

IX    	   ISOPROPANOL SOLUBILITY (unstable Hgb): ISOPR (send out test)

A.            Refrigerate EDTA tube.

X.	 	HISTORY:

H-1	This procedure was written by P. Morris on 09-1997.

H-2	This procedure has been revised by P Morris on 12/09/2010.

H-3         This procedure was revised by P Morris 5/5/11.

H-4	This procedure was revised by S. Richardson on 8/8/2012.

H-5	This procedure has been revised by A. Link on 6/12/2013.