I.		PRINCIPLE:

Sensitized (allergic) individuals may demonstrate the presence of eosinophils in their 	nasal secretions.

II.		SPECIMEN:

Prepared smears of nasal secretions are submitted to the laboratory. The smears are 	usually prepared by swabbing the nasal passage and gently smearing on a glass slide from 	the swab.

III.		PROCEDURE:

A.	Smears are prepared in the clinic/physician office

B.	Smears are air dried

C.	Smears and test requisition are forwarded to laboratory

D.	Specimen is accessioned, slides labeled with accession number and forwarded to 			testing area

E.	Smears are Wright stained in Ames Hematek stainer

F.	Smears are examined under 50x oil for the presence of eosinophils

IV.		REPORTING:

A.	Negative                       no eosinophils seen
      	B.	Unsatisfactory               poor smear preparation (no cells, too thick, etc)

C.	Positive                         eosinophilis seen, note rare, few, moderate or marked

V.		SIGNIFICANCE:

The presence of eosinophils in nasal smears is due to an allergic response to some foreign

substance.

VI.		REFERENCES:

Cartwright, George. Diagnostic Laboratory Hematolgy, 4th edition, 1970.

| Reviewed | Revised | Reviewer |
| --- | --- | --- |
| 1997-7/2003 |  | P Gelilneau, L Merchant, E Sullivan |
| 8/2005 |  | N Drew |

VII.  	HISTORY:

H-1	This procedure was written by N. Ortoli-Drew on 09-1997.